Nodal Operating Guide Revision Request


	NOGRR Number
	019
	NOGRR Title
	Synchronization of OGRR206, Black Start Satellite Phones

	Date Posted
	March 3, 2008


	Nodal Operating Guide Section(s) Requiring Revision 
	4.6.5, Black Start Emergency Back Up Communication Facilities Criteria

	Protocol Section(s) Requiring Revision, if any
	N/A

	Requested Resolution 
	Normal

	Revision Description
	This Nodal Operating Revision Request (NOGRR) incorporates relevant language from OGRR206 which was approved by TAC on February 7, 2008.

	Reason for Revision
	To incorporate into the Nodal Operating Guides provisions approved by TAC for the Zonal market and determined by the ERCOT stakeholders to be relevant to the Nodal market.  

	Overall Market Benefit
	This NOGRR will result in a nodal market design that more completely reflects the intentions of the ERCOT stakeholders.

	Overall Market Impact
	

	Consumer Impact
	


	Quantitative Impacts and Benefits


	Assumptions
	1
	

	
	2
	

	
	3
	

	
	4
	

	Market Cost
	
	
	

	
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Market Benefit
	
	Inclusion of these revisions provides for a Nodal market design that more completely reflects the intentions of the ERCOT stakeholders.
	

	
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	Additional Qualitative Information
	1
	

	
	2
	

	
	3
	

	
	4
	

	Other Comments
	1
	

	
	2
	

	
	3
	

	
	4
	


	Sponsor

	Name
	John Jonte on behalf of the Operating Guides Revision Task Force (OGRTF)

	E-mail Address
	John.jonte@CenterPointEnergy.com

	Company
	CenterPoint Energy

	Phone Number
	713-207-2252

	Cell Number
	

	Market Segment
	IOU


	Market Rules Staff Contact

	Name
	Ann Boren

	E-Mail Address
	aboren@ercot.com

	Phone Number
	512-275-7411


	Proposed Guide Language Revision


4.6.5
Black Start Emergency Back Up Communication Facilities Criteria

(1)
All backup communications system shall meet the following minimum requirements:

(a)
Be operational for 72 hours immediately following the start of a blackout without external power from the ERCOT System;

(b)
Provide direct voice communications between Black Start Resource and TO, TO and other appropriate TOs, and TO and ERCOT;

(c)
Maintain written procedures that address operator training and the testing of the communication system; and


(2)
TOs shall have a satellite phone that meets the minimum back up communication requirements as a back up communication system and that is compatible with ERCOT’s satellite phone.  






PRR_Template.doc
Page 2 of 1
PRR_Template.doc
Page 2 of 1
019NOGRR-01 Synchronization of OGRR206, Black Start Satellite Phones 030308
Page 1 of 3
PUBLIC

