## Slide 1: COPS 2006 UFE Review
March 11, 2008

## Slide 2: Outline
UFE 2006 Summary
  Details can be found at http://www.ercot.com/mktinfo/data_agg/2006/UFEAnalysis2006%20Final.ppt
Things to consider
UFE Duration Curve for 2006

## Slide 3: UFE Summary

## Slide 4: Absolute Value of UFE Summary

## Slide 5: Things to consider…
It’s very common for UFE to be greater in the winter months
  Is due to the variability in weather from one day to the next
While it is common to refer to UFE in actual terms, this can give the impression that UFE is smaller than it actually may be
  For example the average UFE for 2006 True-up settlements is 0.8% from slide 3
Using the absolute value of UFE may give a better indication of the true effect of UFE
  For example the average absolute value UFE for 2006 True-up settlements is 1.7% from slide 4

## Slide 6: UFE Duration Curve for 2006

## Slide 7: Questions?
ON
OFF