## Slide 1: ERCOT VRT
Voltage Ride Through
Standards

## Slide 2: Standards Groups
Edison Electric Institute
(EEI)
National Electrical Manufactures Association
(NEMA)
American National Standard Institute
(ANSI)

## Slide 3: Standards Groups
Federal Energy Regulatory Commission (FERC)
National Electric Reliability Council (NERC)
Western Electricity Coordinating Council (WECC)
Electric Reliability Council Of Texas (ERCOT)

## Slide 4: FERC Wind-Power Connection Standards
July 2005: Order 661
July 2005: NERC Request for Rehearing
December 2005: Order 661 -A

## Slide 5: SPWG Proposal

## Slide 6: WECC Proposal

## Slide 7: NERC Possible Proposal

## Slide 8: FERC Order 661a
Remain connected for
  bolted three phase fault cleared in less than 9 cycles
  Single line to ground fault with delayed clearing (zone 2) plus voltage recovery time

## Slide 9: GRANDFATHER
Existing facilities
Signed IAs as of effective date
Commercial within 12 months of effective date
Can demonstrate to ERCOT that contracting, engineering, or procurement make compliance commercially infeasible

## Slide 10: Policy Decision
ERCOT set a standard more stringent than FERC or WECC existing standards
OR
ERCOT adopt FERC standard and wait for NERC standard