# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## March 13, 2008

The DWG’s efforts have been focused on the RRS/LaaRs study.  Since the last ROS update, these efforts include:

- Essential steps in the study plan detail have been developed.

- The initial flat start of the 2008 Summer Peak case has been completed.

- The initial flat start of the 2008 Spring Off-Peak is in progress.

- The study scope has been revised to appropriately document the updated study plan and study schedule.  For the ROS’s reference, the revised study scope has been submitted in this month’s meeting materials.

- The governor model preparation work is underway.

- The load model preparation work is underway.

DWG Tasks, 2008

| Task | Status |
| --- | --- |
| Publish 2007 & 2010 flat start book. | Completed |
| Flat start 2008 Summer Peak case | Completed |
| Responsive Reserve / LaaRs study | Working |
| Future year flat start case | Future Activity |
| Flat start case with wind models. | Future Activity |
| Publish 2008 & future year flat start book. | Future Activity |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |