## Slide 1: PDCWG Report to ROS March 13, 2008
Bob Green
PDCWG Chair
Garland Power & Light

## Slide 2
NERC Twelve Month rolling Average CPS1 = 125.12

## Slide 5
112.43

## Slide 6
123.83

## Slide 8
Feb 26, 2008
February 2008 is the first month since Jan 2004 that no single day RMS1 value was below 0.025 Hz. There were no “quiet” frequency days in the month.

## Slide 9: Comments
The PDCWG met on March 11 and 12.
The PDCWG continues to do some high level analysis of control performance during periods with low CPS1 scores.
The WG continues to discuss potential Nodal market control performance issues.
The next meeting is April 8 and 9.