## Slide 1
Texas Regional Entity Report
Mark Henry
March 13, 2008

## Slide 2: Performance Highlights
ERCOT’s Control Performance Standard (NERC CPS1) score for January– 123.83
Scores for January indicate all 35 non-wind-only QSEs passed the PRR 525 measure

## Slide 3: Texas RE Monthly Summary
For January……….
  Protocol & Operating Guides violations
    3  2 confirmed – mitigation in progress; 1 confirmed – mitigation complete
  NERC Standards violations
    2 alleged
    1 December alleged violation dismissed
  Reportable events
    1 Compliance review continues to be finalized
    12 new events reported

## Slide 4: Reliability Standards Committee
First meeting held on January 29th
Rick Keetch (Reliant Energy) and Dale Bodden (CenterPoint Energy) were elected as RSC Chair and Vice-chair respectively.
  Term ending December 2008
  Board confirmed Chair and Vice-Chair selections on February 19th
RSC unanimously voted to accept SAR-001: “Revision to Texas RE Documents to Provide for the ERCOT ISO to Participate and have a Vote in the Processes”
  Next Steps………
    SAR publicly posted
    Collaborating with ROS to seek volunteers for Drafting Team

## Slide 5: Texas Regional Entity
Report Details

## Slide 6: NERC CPS1 Performance
ERCOT’s CPS1 Performance
  January Performance
    Monthly comparison
      2008: 123.83
      2007: 137.95
    12 month rolling average comparison
      February 2007 January 2008: 126.33
      February 2006 January 2007: 142.65
PRR 525 Performance
  Scores for January indicate all 35 non-wind-only QSEs passed the measure
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores

## Slide 7: ERCOT CPS1 Performance Comparison

## Slide 8: ERCOT CPS1 Year-to-Year Comparison

## Slide 9: ERCOT’s CPS1 Monthly Performance

## Slide 10: ERCOT CPS1 by Interval

## Slide 11: QSE PRR 525 10-Minute Interval Scoring

## Slide 12: January 2008 – SCPS2 Scores

## Slide 13: January 2008 Resource Plan Performance Metrics

## Slide 14: Registration Activities
Entity Registration issues continue to be addressed
Purchasing-Selling Entity (PSE) registration
  34 entities registered
Load-Serving Entity (LSE) registration is to be addressed – on hold until FERC Order Directives related to LSE registration issues are fully addressed by NERC
Joint registration of some entities remains likely

## Slide 15: NERC Functional Entity Types
DP – Distribution Provider
GO – Generator Owner
GOP – Generator Operator
TO – Transmission Owner
TP – Transmission Planner
PSE – Purchasing-Selling Entity
RC – Reliability Coordinator
BA – Balancing Authority
TOP – Transmission Operator
PA – Planning Authority
TSP – Transmission Service Provider
RP – Resource Planner

## Slide 16: Compliance Process Flowcharts
NERC Compliance Monitoring and Enforcement Program – Reliability Standards
  Link to NERC Reliability Flowcharts
ERCOT Compliance Process – ERCOT Protocols and Operating Guides
  Link to Protocols & Guides Flowcharts

## Slide 17: 2008 Audits by Registered Function

## Slide 18: 2008 Compliance Audits Scheduled by Entity

## Slide 19: 2008 Audit Schedule
The 2008 Texas RE Audit Schedule is available here.

## Slide 20: Compliance Reviews of Events by Month

## Slide 21: Violations of ERCOT Protocols

## Slide 22: Violations of NERC Standards Reported by Month

## Slide 23: NERC Standards Self-Certification
NERC Registered Entities not audited in 2007 required to self-certify to the actively monitored Reliability Standards applicable to their Registration(s)
  279 Total Registered Functions
  25 violations identified
    9 FAC-008 – lack documented process (3 GOs)
    6 FAC-009 – lack documented process (3 GOs)
    4 CIP-001 – lack documented process (1 GOP)
    3 IRO-004 – lack documented process (2 GOs; 1 GOP)
    3 PRC-005 – relay maintenance delinquent (1 TO; 2 GOs)

## Slide 24: NERC Standards Self-Certification Violation Status

## Slide 25: NERC Standards Self-Certification Violation Details

## Slide 26: NERC Standards Self-Reported Violations Pre-June 18th

## Slide 27: Risk Factors for Self-Reported NERC Standards Violations Pre-June 18th

## Slide 28: NERC Standards Self-Reported Violation Categorization Pre-June 18th

## Slide 29: Proposed 2009 Budget Development Schedule
April 15th | Texas RE F&A Committee – Discussion of preliminary draft of 2009 budget
May 1st | Texas RE F&A Committee – Special Meeting (if necessary)
May 9th | NERC – Draft #1 of Texas RE Business Plan & Budget (BP&B) due
May 20th | Texas RE F&A Committee / Board – Presentation of Draft #1 of Texas RE BP&B
May 21st | Open Meeting – Presentation of proposed Texas RE BP&B
May 30th | NERC – Draft #2 of Texas RE BP&B due
June 17th | Texas RE Board – Final budget approval
July 9th | NERC – Final Texas RE Board-Approved BP&B due