## Slide 1: Balancing Energy Offset
John Adams

## Slide 2: Real Time Balancing Market (RTB)

## Slide 3: The way it was suppose to work

## Slide 4: ERCOT Operations Calculations

## Slide 5: Telemetered SCE vs. Regulation Deployed

## Slide 6: Challenges:
Large Delta’s – Difference between Energy Scheduled and Generation Scheduled
SCE errors – Unit runbacks or trips
Wind Schedules Mismatches – Significate differences between planned and actual wind generation
DC Tie Curtailments – NERC Standard IRO-006-1 Transmission Loading Relief (TLR)
Instantaneous load changes – Generation and Non conforming loads
Generation Schedule Changes – Currently a QSE can change their Generation Schedule for any interval that RTB has not cleared
Non Spin Deployment – The operator must run another Hour Ahead Study to capture NSRS deployment for Generation Scheduled and NSRS deployment must also be added back into the Energy Scheduled to correctly deploy balancing energy

## Slide 7: Summary
Many system conditions have the ability to affect the offset calculation after the offset has been entered into the MOI because it is entered 30 – 40 minutes before the interval is completed
Offset calculations are entered into the MOI during each 15 minute interval and calculated 96 times each day