NDSWG priorities to support of transition to Nodal Market

The following is a list of activities that NDSWG needs to accomplish to support the transition to the Nodal Market.

This list is based on importance as well as timeline constraints and not a “to do” list to be worked in order. Also this list should be considered a living document and can change base on the needs to support the transition to the Nodal Market.

- Provide data necessary to achieve a Nodal SE solution that meets Nodal SE performance requirements and supports reasonable LMP

  - Provide data required to support ERCOT’s requests to eliminate un-observable SE loads

  - Autotransformer model review to support Tap estimation

  - Support ERCOT SE tuning efforts

- NMMS Nodal training requirements

- Verify Nodal network model topology and data and the conversion of Zonal model to Nodal model

- Verify CIM incremental model exchange between TSPs and ERCOT.

- Conversion to NOMCR process for Network model data submission

- Support data requirements for the Nodal network model conversion to planning model and CRR model

- Updating contingency list used by Nodal real-time contingency analysis

- Review of Nodal SE solution and Contingency Analysis results.

- Support data requirements for the testing of the new ERCOT Outage Scheduler.

- Review SE Criteria based on results of achieving a Nodal SE solution that supports reasonable LMP calculations and revise existing criteria if required

- Review Telemetry Standard to support SE Criteria and revise if required