| LPGRR Number |  | LPGRR Title | Distributed Renewable Generation Modifications |
| --- | --- | --- | --- |
| Date Posted |  |  |  |

| Load Profiling Guide (LPG) Section(s) Requiring Revision (Include Section No. and Title) | 7, Request for Changes to Load Profiling Methodology 7.1, Current Methodologies 8, Load Profile Models 8.3.2.3, Comparisons for Engineering Estimates 8.4, Routine Profile Model Evaluations 9, Load Profile IDs 9.1.5, Assignment of Load Profile IDs for Distributed Renewable Generation (new) 11, Validation of Load Profile ID 11.3.5, Validation of Profile Segments for Distributed Renewable Generation (new) Acronyms and Glossary |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | 11, Data Acquisition and Aggregation 11.4.4.2, Adjustment for Energy Exports of PV Generation Behind the Meter (new) 11.4.4.3, Adjustment for Energy Exports of Non-PV Renewable Generation Behind the Meter (new) 18, Load Profiling 18.2, Methodology 18.2.2, Load Profiles for Non-Interval Metered Loads Without Distributed Renewable Generation 18.2.3, Load Profiles for Non-Interval Metered Loads With Distributed Renewable Generation (new) 18.2.9, Adjustments and Changes to Load Profile Development |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Urgent |
| Revision Description | These changes allow for load profiling methodology to better represent output of distributed renewable generation < 50 kW. |
| Reason for Revision | To comply with HB 3693. |
| Overall Market Benefit | Allows for more accurate settlement of distributed renewable generation Resources with a capacity of less than 50 kW. |
| Overall Market Impact | Minimal, until the population of small renewable Resources becomes significant. |
| Consumer Impact | Enables settlement of renewable generation values that are not recorded on a 15 minute basis. |

Quantitative Impacts and Benefits

Instructions:  To allow for comprehensive LPGRR consideration and development of the Cost Benefit Analysis (CBA), please fill out each block below completely and provide as much detailed information as possible.  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to this LPGRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | HB 3693 compliance |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza on behalf of the Profiling Working Group (PWG) |
| E-mail Address | Ernest.Podraza@directenergy.com |
| Company | Direct Energy |
| Phone Number | 713-877-3517 |
| Cell Number |  |
| Market Segment | Independent Retail Electric Providers |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Giriraj Sharma |
| E-Mail Address | gsharma@ercot.com |
| Phone Number | 512-248-6759 |

Proposed Guide Language Revision

Instructions:  Guidelines and helpful hints may be found at the following link: http://www.ercot.com/mktrules/protocols/index.html.

Please remember the following:

- Use the most current version of the Guide language, which is available on the ERCOT website.

- Show original Guide baseline language in black.

- Present the entire titled (sub) section as the baseline – not just the paragraphs subject to revision.

- Make all revisions in redlined format (using “Track Changes”).  Be sure to change the user name to the appropriate individual or company name.  Do NOT show revisions by changing font color or font strikethrough.

- Use highlighting when inserting non-Guide language comments (like questions) into Guide language.

- Be sure proposed changes are reflected in both boxed and unboxed sections, if appropriate.

Insert proposed Guide language here.

## 7.1	Current Methodologies

The following methodologies are used to establish Load Profiles:

| Type of Load | Load Profiling Methodology |
| --- | --- |
| Non- Price-Responsive |  |
| Non-interval metered | Adjusted Static Models |
| Non-interval metered with distributed renewable generation | Adjusted Static Models and Engineering Estimates |
| Non-metered | Engineering Estimates |
| Interval Data Recorder (Estimation) | proxy day |
| Price-Responsive |  |
| Time-Of-Use | chunking |
| Direct Load control | Lagged Dynamic |
| Other price-responsive | to be determined |

#### 8.3.2.3	Comparisons for Engineering Estimates

(1)	Engineering Estimates are used in the ERCOT market for non-metered Loads, such as lighting, and for metered loads, such as those with distributed renewable generation.  Engineering Estimates are typically based on an assumed operating schedule together with the assumption that the Load is approximately the same whenever the equipment is operating.  If better or more current information is available for the ESI IDs in a profile segment using an engineering profile, this information may be compared with the assumptions of the estimate.

(2)	Monthly consumption data may also be compared with the profile monthly patterns using the methods described above for Adjusted Static Models.

## 8.4	Routine Profile Model Evaluations

(1)	Routine annual evaluation of model performance may include the following components using the procedures described in Section 8.2, Evaluation of Adjusted Static Profile Models Using Current Load Research Data and Section 8.3, Evaluating Profile Models without Current Load Research Data.

(a)	For each adjusted static profile segment and Weather Zone where current Load research samples exist, compare the profile based on current Load research samples with the profile based on the current model.

(b)	For each adjusted static profile segment, consider whether any current data are available that would indicate substantial changes in end-use saturation between current populations and those used to fit the models.

(c)	For each engineering profile segment, consider whether any current data are available that would indicate substantial differences from those assumed in the engineering models.

(i)	Possible sources of data on operating schedules and equipment saturations include:

(A)	Regional data on equipment and operating hours from end-use consumption surveys published by the Energy Information Administration

(B)	Regional or state data on operating practices published by the Census Bureau

(C)	Economic data published by Texas state or local agencies

(D)	Saturation or other studies by MPs, if available.

(ii)	Exhaustive review of such sources is not expected each year.  However, ERCOT should periodically review what information may be available and consider the likelihood that practices have changed substantially in the region since the Load Profile models were last updated.  In reporting on the evaluation, ERCOT shall indicate what sources were reviewed and/or the basis that major changes were not likely to have occurred was determined.

(d)	Review the magnitude of Load migrated into and out of each Load Profiling segment since the time the Load research data were collected.

(e)	For each adjusted static profile segment and Weather Zone, compare the patterns in current aggregate monthly consumption data with the monthly pattern of the current Load Profile Model.

(2)	If UFE is calculated by Weather Zone or other geographic subdivision, examine systematic patterns in UFE by day-type and hour for each such zone or region.

9.1.5	Assignment of Load Profile IDs for Distributed Renewable Generation

- Competitive Retailers (CRs) seeking to have the Profile Segments for Photovoltaic (PV), wind or other Distributed Renewable Generation (DRG) assigned to one of their Residential (RES) or Business (BUS) ESI IDs shall follow the instructions on the “DRG” tab of Appendix D, Profile Decision Tree.

- ERCOT shall review all assignments of the Profile Segments for PV, wind and other DRG on an annual basis, per Section 11.3.5, Validation of Profile Segments for Distributed Renewable Generation.

## 11.3.4	Validation of NMFLAT and NMLIGHT Profile Types

ERCOT shall review all ESI IDs and their usage which are classified with either an NMFLAT or NMLIGHT Profile Type and calculate the Average Daily Use (ADU) for each ESI ID.  ESI IDs with excessive fluctuation over the 12-month period being reviewed shall be reported to the TDSP.

## 11.3.5	Validation of Profile Segments for Distributed Renewable Generation

ERCOT shall verify that only eligible ESI IDs are assigned  Profile Segments for  DRG.   For ESI IDs found to have been assigned a Profile Segment for DRG erroneously, ERCOT shall work with the TDSP to have the Profile Segment assignment corrected.

In Profiling Guide Appendix D: Profile Decision Tree replace with the following:

Profile Decision Tree 03172008.xls

In Profiling Guide Appendix E: Profile Model Spreadsheets, add the following:

‘ModelSpreadBUSHIPV_v2.2 revised.xls’;

‘ModelSpreadBUSMEDPV_v2.2 revised.xls’;

‘ModelSpreadBUSLOPV_v2.2 revised.xls’;

‘ModelSpreadBUSNOPV_v2.2 revised.xls’;

‘ModelSpreadBUSOGFPV_v2.2 revised.xls’;

‘ModelSpreadBUSHIWD_v2.2 revised.xls’;

‘ModelSpreadBUSMEDWD_v2.2 revised.xls’;

‘ModelSpreadBUSLOWD_v2.2 revised.xls’;

‘ModelSpreadBUSNOWD_v2.2 revised.xls’;

‘ModelSpreadBUSOGFWD_v2.2 revised.xls’;

‘ModelSpreadRESHIWD_v2.2 revised.xls’;

‘ModelSpreadRESLOWD_v2.2 revised.xls’;

‘ModelSpreadRESHIPV_v2.2 revised.xls’;

‘ModelSpreadRESLOPV_v2.2 revised.xls’;

ACRONYMS AND GLOSSARY

DRG	Distributed Renewable Generation

D

- Distributed Renewable Generation (DRG)

- Electric generation with a capacity of not more than 2,000 kilowatts (kW) provided by a renewable energy technology, as defined by PURA §39.904, that is installed on a retail electric Customer's side of the meter..