Metering Working Group Meeting Notes

March 20, 2008

9:00 AM – 3:00 PM

ERCOT Taylor - Building TCC1, Room 252

2705 West Lake Dr.

Taylor, TX 76574

1. Reading of ERCOT Anti-Trust Rules                                        Dotty DiSanto

Dotty DiSanto read the ERCOT Anti-Trust Rules to open the meeting.

2. Opening Business from Chairman		 	Dotty DiSanto

Asked the group if they would like to work thru the lunch hour and leave early. The        group agreed.

3. ERCOT Meter Test Report Revision 				      Austin Energy

MWG discussed changes to the ERCOT version of the test report. Final changes to the document were approved by the group. The revised meter test report will be posted to the ERCOT web site as soon as possible. ERCOT will send a notification e-mail to TDSPs informing them to start using the new test form May 1, 2008.

4. A) CCVT’s and FOCT’s Field Test /or Change Outs             ERCOT

ERCOT updated testing results for CCVT’s and FOCT’s.

B) CCVT Testing Frequency Review                                    Oncor

Group will wait for 2 cycles of testing before deciding a test schedule for the CCVT’s.

11:30 a.m.

Lunch (1½ hour lunch. Lunch will not be provided) – MWG worked thru lunch hour.

5. IP Address Bank 	ERCOT

John Fisher presented to the group ERCOT’s current IP operation and discussed options for IP metering in the future, with the option that includes using a Market Participant’s WAN connection to ERCOT as the preferred method.  John’s presentation to the group is located in the Key Documents section.  Jeff Maddox also spoke on the security aspects of IP metering from ERCOT’s perspective.

6. D80 Error & Needed Update 					      ERCOT

Provided statistics on the number of occurrences in the past 12-months, as indicated by the graph “ION_Internal_600-D80 Errors_04-01-07_03-20-08.xls” located in the Key Documents section.

7. MV-90 Upgrade and New Event Notification System 	ERCOT

ERCOT provided information that the MV90xi System is being replaced and is in testing at this time.  Also discussed how ERCOT will use the Event Notification System internally and that it can be offered to MPs if they would like daily information on the event logging per SMOG requirements.

8. Jemstar & SEL Meter Qualification 	ERCOT

Discussed that the JEMSTAR and SEL-734 meters do appear to meet SMOG requirements for event logging. However, the SEL meter has not been tested for event functionality and MPs should work closely with SEL to verify proper event logging if deciding to use this meter.

9. Nodal Market and EPS Metering Update	ERCOT

- EPS Meter Mapping

- Resource Entity Sign Off

- Timing for Submittal of Design Proposal

ERCOT discussed the importance of timely submittal of the design proposal since Meter Engineering will have to coordinate the information with the Network Modeling Group on a gen site designs. It will also require Resource Entity sign off on the resource node location, EPS meter point location and resource unit to EPS meter mapping before approving the Design Proposal.

10. Meeting Wrap-up 						     Dotty DiSanto

Meeting was adjourned by Dotty Disanto.