| NPRR Number | 092 | NPRR Title | Remove Voltage Schedules Requirement |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | March 20, 2008 |  |  |
| Protocol Section Requiring Revision |  | 6.5.7.1.13, Data Inputs and Outputs for the Real-Time Sequence and SCED |  |  |
| Proposed Effective Date |  | Upon implementation of the Texas nodal market. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will remove the requirement for ERCOT to post hourly voltage schedules on the MIS Secure Area. |  |  |
| Overall Market Benefit |  | Cost avoidance. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | ERCOT credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR092 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 12/14/07, this NPRR was posted. - On 1/29/08, the Transition Plan Task Force (TPTF) comments were posted. - On 2/07/08, City of Garland (Garland) comments were posted. - On 2/20/08, Reliability and Operations Subcommittee (ROS) comments were posted. - On 2/21/08, PRS considered this NPRR. - On 3/14/08, the Impact Analysis (IA) was posted. - On 3/20/08, PRS reviewed the Recommendation Report and IA. |  |  |
| PRS Decision |  | On 2/21/08, PRS voted to recommend approval of this NPRR based upon ROS comments and as revised by PRS. There was one opposing vote from the Independent Power Marketer Segment. All Market Segments were present for the vote. On 3/20/08, PRS unanimously voted to forward the Recommendation Report and IA to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/21/08, ROS comments were discussed. PRS revised “Reason for Revision” field to clarify responsibility and to refer to the correct Entities. On 3/20/08, there was no discussion. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | The ERCOT Protocols need to be revised to either delete the requirement to provide “voltage schedule” data or instruct Transmission Operators to provide this information to ERCOT in order to meet this requirement. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Cost avoidance. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| TPTF 012908 | Proposed language that introduces the requirement to post “Voltage Profiles” as defined in Nodal Protocol Section 3.15, Voltage Support. These comments then updated the original NPRR form to reflect their effect. |
| Garland 020708 | Added a cross references to Section 3.15 to tie the pieces of the Protocols together. |
| ROS 022008 | Supported and recommended passage of NPRR as submitted. |

| Original Sponsor |  |
| --- | --- |
| Name | John Adams |
| Company | ERCOT |
| Market Segment | ISO |

Proposed NPRR Submission Form Language Revision

| Reason for Revision | ERCOT systems do not generate or receive voltage schedule data. ERCOT does not normally provide voltage set point instructions to generators. Transition Service Providers (TSP) have assumed this responsibility on behalf of ERCOT. In order for this data to be provided to the market, a separate tool will need to be built in order to access the information from the TSPs. |
| --- | --- |

Proposed Protocol Language Revision

6.5.7.1.13	Data Inputs and Outputs for the Real-Time Sequence and SCED

(1)	Inputs: The following information must be provided as inputs to the Real-Time Sequence and SCED.  ERCOT may require additional information as required, including:

(a)	Real-Time data from TSPs including status indication for each point if that data element is stale for more than 20 seconds;

(i)	Transmission Electrical Bus voltages;

(ii)	MW and Mvar pairs and calculated MVA for all lines and transformers and reactors;

(iii)	Actual breaker and switch status for all modeled devices;

(iv)	Tap position for auto-transformers.

(b)	State Estimator results (MW and Mvar pairs and calculated MVA )for all modeled Transmission Elements;

(c)	Logic equations to determine the in- or out-of-service state of a transmission line or transformer;

(d)	Transmission Element ratings from TSPs;

(i)	Data from the Common Information Model:

(A)	Transmission lines – Normal and Emergency Ratings (MVA); and

(B)	Transformers and Auto-transformers – Normal and Emergency Ratings (MVA) and tap position limits.

(ii)	Data from QSEs:

(A)	Generator Step-up transformers tap position;

(B)	Resource High Sustained Limit (from telemetry); and

(C)	Resource Low Sustained Limit (from telemetry).

(e)	Real-Time weather, from WGRs, and where available from TSPs or other sources.  ERCOT may elect to obtain other sources of weather data and may utilize such information to calculate the dynamic limit of any Transmission Element.

(2)	ERCOT shall validate the inputs of the Resource Limit Calculator as follows:

(a)	The calculated SCED Up Ramp Rate and SCED Down Ramp Rate are each greater than or equal to zero; and

(b)	Other provision specified under Section 3.18, Resource Limits in Providing Ancillary Service.

(3)	Outputs for ERCOT operator information and possible action include:

(a)	Operator notification of any change in status of any breaker or switch;

(b)	Lists of all breakers and switches not in their normal position;

(c)	Result of logic equation calculation of the in and out status of transmission lines and transformers;

(d)	Operator notification of all Transmission Element overloads detected from telemetered or State-Estimated data;

(e)	Operator notification of all Transmission Element security violations; and

(f)	Operator summary displays

(i)	Transmission system status changes;

(ii)	Overloads;

(iii) 	System security violations; and

(iv)	Base Points.

(4)	Every hour, ERCOT shall post on the MIS Secure Area the following information:

(a)	Status of all breakers and switches used in the Network Security Analysis except breakers and switches connecting Resources to the ERCOT Transmission Grid;

(b)	Transmission flows and voltages from the State Estimator;

(c)	Individual transmission Load on Electrical Buses, sum of the Load on each Electrical Bus in each Load Zone, and total Load on Electrical Buses in the ERCOT System, the sum of ERCOT generation, and flow on the DC Ties, all from the State Estimator;

(d)	Transformer flows, voltages and tap position from the State Estimator;

(e)  	All binding transmission constraints and the contingency or overloaded element pairs that caused such constraint;

(f)	All Shadow Prices on binding transmission constraints; and

(g)	The 15-minute average of Loads on the Electrical Buses from State Estimator results.