## Slide 1: COPS 2007 UFE Update
Calvin Opheim
April 8, 2008

## Slide 2: Outline
2007 UFE Using Final Settlement Data
UFE Duration Curves
Significant Changes that Occurred in 2007
Profile Discontinuity
Possible Options / Next Steps

## Slide 3: UFE Summary

## Slide 4: Absolute Value of UFE Summary

## Slide 5: UFE Duration Curve for 2006

## Slide 6: UFE Duration Curve for 2007

## Slide 7: UFE Duration Curve Comparison
2006
2007

## Slide 8: Observations
UFE increased in 2007
  Possible causes:
    Weather related / Profile Model Error
    Discontinuity of profiles
      Profiles are created independently from one day to the next
      Can have significant differences between the last interval of the previous day and the first interval of a day
    New Profile Models were implemented on 5/15/07
    New Distribution Loss Factor methodology was implemented on 5/1/07
But, the Absolute value of UFE decreased slightly in 2007

## Slide 9: Discontinuity Example
October 21
October 22
October 21
October 22

## Slide 10: Possible Options / Next Steps
Possible Improvements
  Implement Lagged Dynamic Sampling
  Increased 15-min Settlement of ESI-ids
  Update the Profile models
    Implement a time series type model or multiple models much like has been done in ERCOT’s load forecasting model
  Other
Upcoming Discussions at PWG

## Slide 11: Questions?
ON
OFF