## Slide 1
PWG Update Report
By
Ernie Podraza
of Direct Energy
ERCOT PWG Chair
for
COPS Meeting
April 8, 2008

## Slide 2
Updated PWG 2008 Goals
(ranked by Target Date)

## Slide 3: Round 2 Sample Point Installation Tracking Percent New Installations as of March 26, 2008

## Slide 4: Round 2 Sample Point Installation Tracking Percent New Installations Plus Retained Sample Pts

## Slide 5
UFE Report
Targeted for April 2007 PWG Meeting

## Slide 6
New Solar Profile Update
Status after the PWG meeting Jan. 23
The PWG reviewed the DGTF recommendation 3
Two channel capable meters (inflow and outflow readings) assumed
The 867 “information only” field shall be used for the outflow energy
Three possible short term solutions pending ERCOT final review
Fourth possible PWG suggestion which ERCOT is investigating
  Designing several new residential profiles based on the size of the installed solar panel
  Designing a separate solar profile for the outflow energy
  Drafting needed PRR and LPGRR language
  TDSP shall submit to ERCOT the Interconnect Agreement to be used for ESIID identification, verification, and solar panel kW
  Slide previously presented at the COPS February meeting.

## Slide 7
New Solar Profile Update – cont.
Status after the PWG conference call Feb. 4
Fourth proposal not viable by 1/1/2009
Fifth possible PWG suggestion which ERCOT is investigating
  Designing several new residential profiles based on the size of the installed solar panel
  Solar outflow energy would be a negative load deduction
  Drafting needed PRR and LPGRR language
  TDSP shall submit to ERCOT the ESIID identification, Distributive Generation (DG) Type and kW capacity
  Settlement solution to include solar, wind or other DG options
  Slide previously presented at the COPS February meeting.

## Slide 8
New Solar Profile Update – cont.
The PWG conference call Feb. 18
Discussed the fifth option proposed on Feb. 4
Kyle Miller Chairs a sub-team to keep TEX Set 867 language in sync with the PWG actions
PRR first Draft was reviewed
LPGRR first draft was reviewed

## Slide 9
New Solar Profile Update – cont.
The PWG conference call Feb. 28
Residential Profile design discussed
Business Profiles to be developed PRR second Draft was reviewed
PRR756 Distributed Renewable Generation Modifications filed
LPGRR second draft was reviewed
Decision Tree and Model Spreadsheets being developed
Defined KWH_Gen and KWH_Load
SADWG need to determine COPMGRR language for determinants
TEX Set 867 language ‘ignore loop’ discussed
The PWG would like to know if there is any concern from PUCT Staff or other Market Participants for the current design so these concerns can be met now without delay in the timeline?

## Slide 10
New Solar Profile Update – cont.
The PWG meeting March 4
LPGRR third draft was reviewed
Decision Tree latest draft reviewed
Model Spreadsheets being developed
A beta test of MetrixND project file has been developed

## Slide 11
New Solar Profile Update – cont.
The PWG meeting March 26
LPGRR latest draft was reviewed
Decision Tree latest draft reviewed
Model Spreadsheets reviewed
LPGRR030 filed on March 27
PWG to present LPGRR030 to the COPS with pros and cons on Options 1, 2 and 3 (to be explained in separate presentation)

## Slide 12
New Solar Profile Update – cont.
Timeline PRR756
Urgent resolution filed 2/28/2008
March 3 market notice to PRS initiating urgent vote
March 5 PRS request to grant Urgent status failed
March 20 PRS passed Urgent Status and files recommendation report
April 8 the COPS vote on IA and CBA recommendation
April 18 at the PRS review of IA and CBA
May 8 at the TAC
May 20 at the Board
  Note impact analysis is anticipated to be within $500,000 budget

## Slide 13
New Solar Profile Update – cont.
Timeline LPGRR030
Urgent resolution targeted to be filed 3/26/2008
If urgent approved;
  April 8 at the COPS
  May 8 at the TAC
  May 20 at the Board
  Note impact analysis is anticipated to be within $500,000 budget
  The ERCOT Board
  must approve no later than August 3
  for the 150 day notice to allow for 1/1/2009 implementation

## Slide 14
Questions?
PWG 2008 meeting dates;
April 23
And the 4th Wednesday of the month for Mar. – Oct.