## Slide 1: Information Technology Update
Aaron Smallwood
Manager, IT Business & Customer Services

## Slide 2: Recent IT Issues & Updates
Retail Market IT Services
  Transaction Processing Outages & Delays
  MarkeTrak Performance
Data Extracts & Reports
  Delayed Extracts & Reports
  SLA Progress

## Slide 3: Retail Market IT Services
Transaction Processing Outages & Delays
  Causes:
    Failed Production Release
      SCR-745 related production implementation caused delays and failures resulting in the decision to rollback to pre-implementation state
    Storage Hardware Failures
      Multiple storage hardware failures caused unplanned outages, compounding transaction processing delays already slowed by the failed production release
    Human Error
      During troubleshooting efforts, a computer operator started a session of a process that was already running, causing significant duplicate transactions to be generated and requiring the manual cleanup of transactions
  Resolution:
    Failed Production Release
      Due to slow performance and crashes, an outage outside of the standard maintenance windows was utilized to rollback to pre-implementation state
      Technical analysis and discussions with TDTWG are ongoing to determine next steps regarding this phase of SCR-745
    Storage Hardware Failures
      Project to replace aged hardware has been in progress since late ’07 and is scheduled for implementation during the first weekend in May
    Human Error
      Education and training as well as procedure revisions to prevent future occurrences

## Slide 4: Retail Market IT Services
MarkeTrak slow system performance and failures
  Causes:
    Application instability and limitations:
      Single vs. multi-threading processing abilities
      HTTP sessions management capabilities
    Storage hardware failures
      When the SAN fails, the MarkeTrak application fails as well
  Resolution:
    Application instability and limitations:
      Version upgrade that will address these issues has been in process since late ’07, two versions of the upgrade have failed ERCOT testing and have had to be returned to the vendor for fixes
      Most recent version upgrade is in ERCOT testing and if successful it will be promoted to production during the May release
    Storage hardware failures
      Project to replace aged hardware has been in progress since late ’07 and is scheduled for implementation during the first weekend in May

## Slide 5: Data Extracts & Reports
Data Extracts & Reports Delays
  Causes:
    Storage hardware failures
      Failures delayed batch processing which in turn delayed reports and extracts
    Human errors
      Data cleanup activities inadvertently caused incorrect data to be generated during the batch process, the remediation efforts required the backout and rerun of three operating days, much of which had to be performed manually
      Permissions not granted properly during the March retail release, causing files to not be able to flow where they needed to for report generation
  Resolution:
    Storage Hardware Failures
      Project to replace aged hardware has been in progress since ’07 and is scheduled for implementation during the first weekend in May
    Human errors
      Education and training

## Slide 6: Data Extracts & Reports SLA - Update
Data Extracts & Reports SLA
  Working with DEWG to formalize an SLA with COPS for Data Extracts & Reports
    Potential approval at May COPS meeting
  Key points:
    Identified 27 ‘Priority 1’ extracts & reports to be included in SLA
    Reporting will be provided monthly to COPS and TAC, likely beginning in June and will include:
      Timeliness (did it get there in time)
      Completeness (was all the data there that was supposed to be)
      Accuracy (was the data correct)
      Application availability:
        TML Report Explorer
        Retail API (application programmatic interface)