## Slide 1: TAC Update on Wind Workshop
April 4, 2008

## Slide 2: Objective of the Wind Workshop
Develop a common understanding of the Impact of wind generation on the operation of the ERCOT System
Identify the following:
  What are the problems today
  What challenges will additional wind capacity present
  What changes do we make now
  What changes do we incorporate into Nodal

## Slide 3: Identified Needs and Proxy Solutions prior to the Workshop
Immediate needs identified by ERCOT
  Improve wind resource plans
    Protocol to use Wind Forecast in place of Wind Schedules
  Eliminate instantaneous ramps associated with congestion mgmt
    Establish Ramp Rate requirements
  Increase regulation requirement to account for wind variability
    Incorporate effect of incremental increases in installed wind capacity into current methodology
Additional needs identified by AS study – multiple solutions possible
  Increase ramping flexibility in ERCOT “fleet”
    Quick start/response service?? (what requirements?)
  Monitor ramping capability and increase during times of added risk
    Additional reg/responsive/non-spin during these periods??

## Slide 4: Results of the Meeting
A list of issues were developed and placed in one of four categories
  Interconnection Process
  Compliance/Performance Measures
  Changes to Protocols/Guides
  Training
TAC will assign the issues to ROS & WMS