Stakeholder Action Items from the Wind Workshop

- Interconnection Process:

  - Better defined voltage support requirements

  - Better defined SCADA control on generation breakers

  - ERCOT/TSP/Generator voltage management practices

  - Generation Interconnection Synchronization checklist

    - How will generation unit’s provide reactive support/voltage control

  - System Inertia (Assigned to ROS will be passed to PDCWG)

    - Generator governor response

ROS was assigned all the issues listed above.

- Compliance/Performance Measures:

  - 24/7 communication must be available for TSP to reach wind generators (assigned to ROS)

  - LSL as a %of HSL performance measure (assigned to WMS)

- Changes to Protocols/Guides

  - Wind Generation ramp rate limitations (assigned to ROS & WMS)

  - Forced shape of wind energy offer curve (assigned to WMS)

  - PRR to mandate use of AWST 80% forecast in wind Resource Plans (assigned to ROS)

  - Wind QSE Resource Plan update timing (assigned to WMS but is dependant on c. above)

  - Ancillary Service procurement methodology (assigned to WMS & ROS)

    - Increase RGS,RRS,NSRS during high-risk periods

  - Mid Term and Short Term Load Forecast weather sensitivity (assigned to ROS)

  - Evaluate outage criteria (assigned to ROS)

  - Down Balancing bids from some Wind QSEs but not all (assigned to WMS)

  - Run multiple CSC limit studies (assigned to ROS)

  - Evaluate use of dynamic line ratings (assigned to ROS)

  - Evaluate EECP Steps, particularly consider granting ERCOT flexibility to request public appeal for conservation (assigned to ROS)

- Training

  - Wind generator knowledge of plant equipment/controls/best practices (assigned to ROS)