## Slide 1: Advanced Metering Implementation Team Update
Presented by
Christine Wright
April 4, 2008

## Slide 2: Introduction
Overview of AMI/AMS
National Perspective
Texas Initiative
Policy Considerations
AMS Rulemaking
Deployment Status in Texas
Implementation & Next Steps

## Slide 3: 1. Advanced Metering System
Advanced meter -- Any new or appropriately retrofitted meter that functions as part of an advanced metering system and that has the features specified in this section.
Advanced Metering System (AMS) -- A system, including advanced meters and the associated hardware, software, and communications systems, including meter information networks, that collects time-differentiated energy usage and performs the functions and has the features specified in this section.
Advanced Metering Rule:
http://www.puc.state.tx.us/rules/subrules/electric/25.130/25.130.doc

## Slide 4: 1. Advanced Metering System
Advanced Metering Infrastructure (AMI) deploys standards-based open architecture to build a network of smart meters that are fully integrated with demand response capability.
And this enables:
  Utilities to meet the business & operational needs for more accurate meter data collection, advanced billing and other business processes (e.g. outage detection)
  Customers to actively and frequently participate in demand response
    Facilitates the provision and settlement of new REP products such as Time of Use, pay as you go, etc.
  Customers to better understand their energy consumption, and to make choices about their contribution to energy conservation
  The market to move towards a smart grid

## Slide 5: 2. National AMS Efforts
California
Ohio
New York
Illinois
Xcel Energy Smart City

## Slide 6: 3. Timeline
2005 Passage of HB 2129
2007 AMS Rulemaking
2007 Passage of HB 3693
2008 Project 34610
Ongoing Pilots & Meter Deployment

## Slide 7: 3. Policy in Texas
HB 2129 (79th R)
“In recognition that …new metering and meter information technologies, have the potential to increase the reliability of the regional electrical network, encourage dynamic pricing and demand response, make better use of transmission and generation assets, and provide more choices for consumers, the legislature encourages the adoption of these technologies by electric utilities in this state.”

## Slide 8: 3. Policy in Texas
Passage of HB 2129
Permits utilities to recover costs through a surcharge (ERCOT & non-ERCOT utilities)
  Recover costs of deploying advanced meters to residential and non-residential customers (non-IDR)
Requires reports from the Commission by September 30, every even numbered year
By September 30, 2010, any recommendations for legislation the PUC may consider appropriate shall be included in the report
Commission Report to the Legislature:
http://www.puc.state.tx.us/electric/projects/34610/Commission_Report_on_Advanced_Metering.pdf

## Slide 9: 3. Policy in Texas
Passage of HB 3693 (80th R)
Expressed the intent of the legislature that net metering and “advanced meter data networks be deployed as rapidly as possible.”

## Slide 10: 4. Considerations
Maximum penetration to enable demand response.
Comprehensive set of AMS functions are necessary to achieve the benefits listed in HB 2129.
Standardization in competitive areas
Benefits shall flow among the utility, REP and customer.

## Slide 11: 4. Underlying Principles
AMI will help to “level the playing field” for REPs.
AMI links the wholesale and retail markets, and will help them continue to mature.
Greater price transparency as a result of AMI should drive prices down in the long run.
Uncertainty over resources and variability in wholesale prices can be reduced by AMI due to more granular data availability enabling more accurate forecasting and settlement.

## Slide 12: 4. Deployment of Nodal Design for Wholesale Mkt.
<number>
Nodal Wholesale Market (NWM) design will provide price transparency and granularity.
REPs will enter into newer purchase agreements with producers that reflect new transparency and granularity.
Because of AMI’s two way communication capabilities, REPs will be able to offer end use customers new products taking advantage of the new NWM design.
This will greatly expand market based demand response.

## Slide 13: 4. Benefits & Savings
Benefit/Savings Include: | Customer | Market | Utility
More timely move-in/move-out, switching among REPs | X | X | 
Reduced usage during peak periods and scarcity conditions | X | X | X
Utility Operational Savings | X |  | X
Environmental Savings | X | X | 
Demand Response & Reliability | X | X | X
Ability to predetermine electric bill for the month | X |  | 
Reduced costs from shifting load to off-peak | X | X | X

## Slide 14: 5. AMS Rule 25.130
Deployment of AMS is voluntary
Includes provisions for
  Mandatory AMS capabilities
  Communications with Home Area Network (HAN)
  Data Access
  Deployment Information
  Cost Recovery
Six months prior to deployment or as soon as practicable an electric utility needs to file:
  Statement of AMS Functionality
  Either a Notice of Deployment or Request for Approval of Deployment
  Request for surcharge may be included

## Slide 15: 5. AMS Mandatory Functions
AMS features 25.130(g)
  Sets a floor, not a ceiling
Remote meter reading
Two-way communications
Remote connection and disconnection
Time-stamping of meter data
Direct, real-time access for customer and retailer to meter data
Fifteen-minute data
Storage of data
Open standards and protocols
Communication with premises devices
Upgrade capability

## Slide 16: 5. Settlement
25.130 (h)
It is the objective of this rule that ERCOT shall be able to use 15-minute meter information from advanced metering systems for wholesale settlement, not later than January 31, 2010

## Slide 17: 5. Meter Data Access
Capability to provide direct, real-time access to usage data to the customer and the customer’s REP:
  Hourly data transmitted to the web portal on a day-after basis
  Staff using a stakeholder process,* as soon as practicable shall determine, subject to Commission approval, when and how 15-minute IDR data shall be made available
* Project 34610

## Slide 18: 5. Communications
Capability to communicate with devices inside the premises, including but not limited to:
  Usage monitoring devices
  Load control devices
  Prepayment systems through the HAN
  Open standards and protocols
    ZigBee, Home-Plug, or the equivalent

## Slide 19: 5. AMS & the Home Area Network

## Slide 20: 5. AMS & the Home Area Network

## Slide 21: 5. TDU Deployment Plan
Must include:
Type of meter technology
Type and description of communications equipment
Systems to be developed during deployment period
Timeline for web portal development
Deployment schedule by specific area
When monthly status reports will commence
Schedule for deployment of web portal functionalities

## Slide 22: 5. Cost Recovery
Surcharge proceeding
  Prefer levelized amount
  Prefer amortization of 5-7 years
Annual Reports
  Updates of cost information (actual)
  Utility may update surcharge
Reconciliation proceeding
  No more frequently than once every 3 years
  Presumption that costs spent in accordance with Deployment Plan are reasonable and necessary

## Slide 23: 6. AMS Deployment

## Slide 24: 6. Deployment in Texas
AEP
Intends to make vendor selection Summer 08
Follow with filing at the PUC
Mid 2009 – Initial AMI deployment
2010 – 2015 – Build out the rest of AEP Texas AMI system
http://www.puc.state.tx.us/electric/projects/34610/FacMtg012808/AEPTexasUpdate.pdf

## Slide 25: 6. Deployment in Texas
TNMP
TNMP began a small pilot project in October 2007 using cellular technology.
  97 meters in Central Texas (Clifton)
    Rural areas
  IDR Meter facility added early 2008
  Other small types of routes may be added during 1st & 2nd quarters of 2008.
Meters meeting all requirements of rule should be available by mid-year 2008.
http://www.puc.state.tx.us/electric/projects/34610/FacMtg012808/TNMPUpdate.pdf

## Slide 26: 6. Deployment in Texas
Oncor Electric Delivery
End of year 2007
  473,000 advanced meters deployed with power line carrier (PLC) communication system
    Generally in west, north-central, and east Texas
    425,000 provisioned
  117,000 advanced meters deployed with broadband over power lines (BPL) communication system
    Limited to an area just north of downtown Dallas
    45,000 provisioned
http://www.puc.state.tx.us/electric/projects/34610/FacMtg012808/OncorUpdate.pdf

## Slide 27: 6. Deployment in Texas
Oncor Electric Delivery
2008
  Radio Frequency Pilot currently planned for 2008 (not available for Summer)
    5,000 meters to be deployed in an urban setting such as Rockwall with a few meters to be deployed in a rural setting (Stryker Lake) to test the communications network.
Deployment Plan will be filed by July

## Slide 28: 6. Deployment in Texas
CenterPoint Energy
Targeted 10,000 meter pilot – 9,800 installed
  Field testing technology
    Prove new technology – Itron OpenWay
    Fixed systems are challenging
Proof testing focus on:
  Meter Data Management (MDM) - Communications - Cell Relay - Meter - ZigBee layer
  Understanding data flows
    Foundational support for detailed system design
http://www.puc.state.tx.us/electric/projects/34610/FacMtg012808/CNPUpdate.pdf

## Slide 29: 7. Implementation
The Project Relating to the Implementation of Advanced Metering (Project 34610) was opened to provide a Commission led-forum for the discussion and resolution of issues including addressing impacts on retail and wholesale markets resulting from the deployment of AMS in ERCOT and to help ensure that customers receive benefits from AMS investments.
More information available at the Implementation Project Webpage:
http://www.puc.state.tx.us/electric/projects/34610/34610.cfm

## Slide 30: 7. Implementation
Process:
Most meetings are facilitated
Attendance and participation from REPs, TDUs, ERCOT, Vendors and Consumers
Meetings are open to the public
Consensus-based approach
Work on specific issues is performed by volunteering parties, and brought back to team
Resolution of issues as determined by AMIT will be filed for Commission approval
Issues that cannot or should not be decided by AMIT may either be taken to the Commission for a decision, or taken to existing ERCOT working groups or taskforces for possible work, input, or decisions.

## Slide 31: Projects Without Defined Scope
Solution
Business Need
Business Need
Business Need
Business Need
Business Need
Business Need
Solution
Solution
Solution
Solution
Solution
Implemented
Product
Project
Effort
Solution
Project Scope
Business Need

## Slide 32: Projects With Defined Scope
Scope Statement
Objectives
Business Processes
Project Assumptions
Project Constraints
CSFs
Business Need “What’s”
Solution “How’s”
Implemented
Product
Project
Effort
Project Scope

## Slide 33: 7. The AMS Big Picture

## Slide 34: 7. Implementation
Six Projects: Schedule:
  Interim Project Ongoing
  Web Portal Project Ongoing
  ERCOT Settlement Project Ongoing
  Home Area Network (HAN) Begin May 08
  Retail Interface Project Begin June 08
  Customer Education Begin May 08
Implementation Project Webpage:
http://www.puc.state.tx.us/electric/projects/34610/34610.cfm

## Slide 35: 7. Implementation
Interim Project:
Purpose: To design, develop and implement interim cost-effective interface and bridging functionality for any installed AMS so REPs may offer products by Summer of 2008 consistent with ERCOT and TDSP capabilities.
Status: Limited capabilities for Summer 2008. Will be evaluating Fall 2008, and early 2009 solutions.

## Slide 36: 7. Implementation
Web Portal Project:
Purpose: Establish standard AMS data transport, format, communication and acquisition mechanisms. Develop the requirements and prioritize the implementation of the functions of the web portal.
Status: Project underway. Each TDSP will set their own implementation date subject to filing of deployment plan and approval.

## Slide 37: 7. Implementation
Home Area Network (HAN) Project:
Purpose: To standardize the means of AMS communications with an in-home device consistent with the rule requirements.
Status: Meetings to commence May 08.
Retail Interface Project:
Purpose: Define and implement the retail market interface changes that may result from AMS.
Status: Meetings to commence June 08.

## Slide 38: 7. Implementation
Customer Education:
Purpose: Provide consumer education about how and when customers consume energy, the cost of that energy, and what they can do to lower their bill.
Status: Meetings will begin May 08.
ERCOT Settlement:
Purpose: Make available ESIID-specific, 15-minute or shorter interval data from the advanced meters to ERCOT, REP of Record, and Customers.

## Slide 39: 7. Implementation
ERCOT Settlement:
Status: ERCOT’s current system architecture may be used for 2010 goal.
Commission has requested comments from the market.
AMIT will continue to work with the market and ERCOT stakeholder process in developing the best solution.
Settlement of millions of ESI IDs as deployment continues is a significant challenge.
  Market wants to discuss different ways of storing and transporting the data.
Recognize that a Commission decision will mean changes to ERCOT processes and systems.

## Slide 40
Questions?

## Slide 41: More Information:
Christine Wright
Public Utility Commission, Competitive Markets Division
christine.wright@puc.state.tx.us
Ph: 512.936.7376
Advanced Metering Implementation Project
http://www.puc.state.tx.us/electric/projects/34610/34610.cfm
Advanced Metering Rulemaking Project Webpage
www.puc.state.tx.us/rules/rulemake/31418/31418.cfm
HB 2129
www.capitol.state.tx.us/BillLookup/Text.aspx?LegSess=79R&Bill=HB2129