| LPGRR Number | 030 | LPGRR Title | Distributed Renewable Generation Modifications |
| --- | --- | --- | --- |
| Impact Analysis Date |  | April 8, 2008 |  |
| Cost/Budgetary Impact |  | Project cost: Less than $50,000. This budget will be managed as part of project to implement Protocol Revision Request 756 (PRR-756), Distributed Renewable Generation Modifications. Ongoing expenses: Any ongoing activities as a result of this Load Profiling Guide Revision Request (LPGRR) will be managed under the operations and management budgets of the affected departments (See EROCT Business Functions Impact section for more information). |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | It is estimated that completing the Distributed Renewable Generation (DRG) Load Profiles will require about three months upon Board of Directors approval. The market notice announcing DRG Profile Segments is expected to be sent in August (new Load Profiles require a market notice of at least 150 days prior to their implementation). The new Load Profiles will be implemented on January 1, 2009 to comply with the settlement requirements of HB 3693. |  |
| ERCOT Staffing Impacts (across all areas) |  | No additional staffing impacts as a result of implementing this LPGRR. |  |
| ERCOT Computer System Impacts |  | Metrix IDR for generating DRG Load Profiles. Lodestar system modifications for using DRG Load Profiles in Settlement. |  |
| ERCOT Business Function Impacts |  | - This LPGRR requires the implementation of 128 new combinations of Load Profile Type with the existing eight Weather Zones to allow for Load Profiling methodology to represent the presence of DRG less than 50 kW. In the Load Profiling Guide, Appendix D will be modified while new Load Profile Model spreadsheets will be added to Appendix E. - ERCOT will review all assignments of the Load Profile Segments for photovoltaic, wind and other DRG on an annual basis, per Section 11.3.5, Validation of Profile Segments for Distributed Renewable Generation. - ERCOT will verify that only eligible ESI IDs are assigned Load Profile Segments for DRG. For ESI IDs found to have been assigned a Load Profile Segment for DRG erroneously, ERCOT will work with the Transmission and/or Distribution Service Provider (TDSP) to have the Load Profile Segment assignment corrected. - ERCOT will validate the DRG Load Profile models on an annual basis as specified in Section 8, Load Profile Models. - ERCOT will validate the DRG Load Profile model outputs on a daily basis to confirm that the values used in Settlement are accurate. |  |
| Grid Operations & Practices Impacts |  | There are no impacts to grid operations and practices as a result of this LPGRR. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Currently there are 87 ESI IDs that are on DRG. The proposed Load Profile based solution although expensive for few ESI IDs, may be cost-effective in the long run when DRG is more widely used. Use separate ESI IDs for Load and Resource: This option will have minimal ERCOT system impact. It would require Market Participants to submit Settlement data to ERCOT for DRG units using two ESI IDs - one for generation and one for Load. It would require DRG owners or their Retail Electric Providers (REPs) to register DRG units as a Resource with ERCOT. The netting of generation against Load for a DRG unit will be handled by the REP. As a result, Market Participants may have to modify their systems. It is not clear what the costs are for the market for implementing this option.

Evaluation of Interim Solutions (e.g., manual workarounds)

None.

Feasibility of Implementation

Impact on Resource Availability: Impact on Other Projects: As noted above, HB 3693 requires ERCOT to settle DRG less than 50 kW, by January 1, 2009. If such Settlement is done using new DRG Load Profiles, ERCOT procedures require a market notice of at least 150 days prior to their implementation. Therefore, depending upon when PRR-756 and LPGRR-30 are approved, there may be an impact on ERCOT resources and other projects to comply with the requirements of HB 3693 and ERCOT Load Profile procedures.

Comments