## Slide 1: TDTWG Update to RMS
<number>
Wednesday
April 9, 2008
Notes: <number>

## Slide 2: Primary Activities in Progress
<number>
Addressing ERCOT System Outages and system failures
Discussed MarkeTrak Degradation- Sessions
Reviewed current status of SCR748
Monitor/Support Implementation of SCR745
Discussed System Impacts from 15 minute interval data – Comm. & Back office Apps.
Notes: <number>

## Slide 3
<number>
1. Continue working with the ERCOT Manager of Operations to address each system incident.
Christian Brennan presented the outage report. He fielded several questions and noted a few updates needed to the outage report that will be in place for the RMS meeting. This was a difficult month, with several outages with causes ranging from human error to SAN hardware failures. The San hardware was a recurring problem, and is scheduled for upgrade in May 2008.
#1
Notes: <number>

## Slide 4: #2
2. MarkeTrak Degradation- Sessions
Christian explained that a session is described as a connection between a server and a web browser. When a user attempts to log into MarkeTrak a session is established once the digital certificate is authenticated. Multiple sessions can continue to be established. A single user can have up to 80 sessions. The maximum number of sessions is currently 200.
There is a Serena problem where the sessions are not being disconnected. After user logs out, the session can remain connected. A time out is what disconnects the session.
<number>
Notes: <number>

## Slide 5: #2 Continued
Christian said that during initial testing these issues were not encountered. He explained that there is a version upgrade being made to TeamTrak during the May Retail release which should resolve this issue. The upgrade is currently in itest.
Christian will provide a testing update at the next TDTWG meeting.
Christian said most issues are logged mid day Monday through Friday between 11:00 and 2:00. So outside these times you should see less issues and there are normally less than 30 issues logged over the weekend.
<number>
Notes: <number>

## Slide 6: #3
<number>
3. TDTWG continues monitoring the status of SCR748, website enhancements for ERCOT outage notifications
Hope Parrish updated the group stating that Phase 1 of SCR 748 has been closed.
Phase 2 is being initiated this Friday and will begin with planning. Hope will provide monthly updates to TDTWG.
The project may go into 2009 with the code freezes in place due to Nodal.
Notes: <number>

## Slide 7: #4
<number>
4. TDTWG continues working with ERCOT to support implementation of SCR745 including the new architecture design.
Hope Parrish made a presentation outlining issues & advantages in going forward with the scheduled implementation of PR60006_01 (Phase II) - Paperfree clustering, the weekend of March 8, 2008.
Hope then reported the occurrence of several issues after implementation that prompted the RollBack of this implementation on March 22. These are detailed in the Key Documents of TDTWG for the April 2, meeting.
Notes: <number>

## Slide 8: #4 Continued
<number>
TDTWG discussed and recommended to cancel phase 3 or SCR745, which has never been opened and doesn’t have money associated with it.
Much of this work has been accomplished in other projects. If recurring issues arise they will be addressed at that time.
Again you can see the details of all presentations to the TDTWG’s April 2, meeting on the ERCOT website.
Notes: <number>

## Slide 9: #5
5. Discuss System Impacts from 15 minute interval data – Comm. & Back office Apps.
Dave Farley reviewed presentation - 006-AMR-ProcessingImpacts, which can be found under key documents of this meeting.
ERCOT is currently performing analysis for PR70057 - ERCOT system throughput for IDR. The data quantity is not yet known. Requirements have not yet been received. The ERCOT impacts were discussed which included storage point impacts and processing impacts.
<number>
Notes: <number>

## Slide 10: #5 Continued
TDTWG did not have a deliverable on this project but assumes responsibility for what the data transport method will be. TDTWG will keep this on the agenda of future meetings to continue discussions and may schedule MP workshops.
Heather Day was introduced as the project manager for this project. She informed the group that the project is currently in the planning phase and conceptual design is underway.
The development team is doing analysis and looking at ways to improve performance to increase capacity using the current architecture.
<number>
Notes: <number>

## Slide 11: #5 Continued
The goal is to make sure that everyone doing analysis keeps in contact so we can identify the lowest threshold to not impact processing times for extracts and other activities.
TDTWG has since been assigned Task 95 from the AMIT.
Task 95 – Choose the XM format (XML or Binary XML) for TA-0001 Machine to Machine Large Volumes of Data. Determine if a published WSDL is appropriate for automated delivery of the data and if so create. Assigned to TDTWG (Kathy Scott) due 4/22/2008.
<number>
Notes: <number>

## Slide 12: Thank You
<number>
Notes: <number>