# ERCOT

# DYNAMICS WORKING GROUP

## Report to ROS

## April 11, 2008

Since the last ROS meeting, the DWG has continued with work on the RRS/LaaRs study.  Highlights of this work are:

- The initial flat start of the 2008 Spring Off-Peak case is virtually complete.  One minor outstanding issue is expected to be resolved shortly.

- Significant progress has been made on the governor model preparation work.

DWG Tasks, 2008

| Task | Status |
| --- | --- |
| Publish 2007 & 2010 flat start book. | Completed |
| Flat start 2008 Summer Peak case | Completed |
| Responsive Reserve / LaaRs study | Working |
| Future year flat start case | Future Activity |
| Flat start case with wind models. | Future Activity |
| Publish 2008 & future year flat start book. | Future Activity |
| Make annual determination of the number and location of dynamic monitoring devices. | Future Activity |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |