| PRR Number | 758 | PRR Title | Clarification of Language Related to Generation Netting for ERCOT Polled Settlement Meters |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | April 15, 2008 |  |  |
| Protocol Section Requiring Revision |  | 10.3.2.3, Generation Netting for ERCOT Polled Settlement Meters |  |  |
| Effective Date |  | May 1, 2008 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) makes a minor change in wording to make clear intent of Protocol Section 10.3.2.3, i.e., that metering may net the generation and the Load associated with such generation for the purposes of settlement. |  |  |
| Overall Market Benefit |  | Clarifies Protocol language related to net metering for generation and Loads associated with generation. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 03/14/08, PRR758 was posted. - On 03/17/08, PRS did not grant Urgent status for PRR758 via email vote. - On 03/20/08, PRS reconsidered Urgent status for PRR758. - On 03/20/08, PRS considered PRR758. - On 03/28/08, the Impact Analysis (IA) was posted. - On 4/4/08, TAC considered PRR758. - On 4/15/08, the ERCOT Board considered PRR758. |  |  |
| PRS Decision |  | On 03/20/08, PRS unanimously voted to grant PRR758 Urgent status. All Market Segments were present for the vote. On 03/20/08, PRS voted to recommend approval of PRR758 as revised by Luminant comments and as amended by PRS. There was one abstention from the Investor Owned Utility (IOU) Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 03/20/08, concerns were expressed regarding the affect of the proposed Protocol language on Private Use Networks (PUNS). It was stated that the proposed language could adversely affect many Market Participants depending on how the language was interpreted. PRS modified the language to define “associated Load”. |  |  |
| TAC Decision |  | On 4/4/08, TAC voted to recommend approval of PRR758 as recommended by PRS. There was one abstention from the IOU Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 4/4/08, there was no discussion. |  |  |
| Board Decision |  | On 4/15/08, the ERCOT Board approved PRR758 as recommended by TAC. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Loads at generating stations include energy provided for construction power |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | N/A | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | N/A | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Clarifies language in existing Protocol to clearly allow net metering of generation and Load associated with such generation at a generation site. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant Energy 031808 | Correction of language that was deleted in the original PRR. |

| Original Sponsor |  |
| --- | --- |
| Name | Henry Durrwachter |
| E-mail Address | hdurrwachter@luminant.com |
| Company | Luminant Generation Company LLC |
| Market Segment | IOU |

Proposed Protocol Language Revision

10.3.2.3	Generation Netting for ERCOT Polled Settlement Meters

At Generation Resource Facilities, generation and associated Loads, including construction and maintenance Load that is netted with existing generation auxiliaries,  must be metered at their points of interconnection to the ERCOT Transmission Grid.  IDR meters must be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net must be settled as generation.  In the intervals where the Load exceeds the generation output, the net must be settled as Load and carry any applicable Load shared charges.

For settlement purposes, generation netting is not allowed except under one of the following conditions:

(1)	Single point of interconnection with delivered and received metering data channels;

(2)	Multiple points of interconnection where the Loads and generator output are electrically connected to a common switchyard, as defined below.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur;

(3)	A Qualifying Facility (QF) with point(s) of interconnection where the QF is selling to the QF’s thermal host(s) may net the Load meters of the thermal host with its generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TDSPs may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under PURA and applicable PUCT rules.  If the PUCT requires other Load served by onsite generators to pay the System Benefit Fund charges, then, in instances in which Load is served by generation through a common switchyard, the TDSP may install metering equipment solely for purposes of the TDSP’s calculation of System Benefit Fund charges, as provided by PURA, if any is applicable.  For purposes of this Section, new on-site generation has the meaning as contained in PURA Sections 39.252 and 39.292(k); or

(4)	For Generation Resources and/or Load with flow-through on a private, contiguous transmission system (not included in a TDSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining Generation Resources or Load.  For Settlement purposes, the metered interconnection points must be assigned to the same Congestion Zone and UFE Zone.

For purposes of this Section, a common switchyard is defined as an electric substation Facility where the point of interconnection for Load and Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its point of interconnection and the Generation Resource to its point of interconnection cannot be Facilities that have been placed in a TDSPs rate base.