| OGRR Number | 208 | OGRR Title | Voltage Ride-Through (VRT) Requirement |
| --- | --- | --- | --- |

| Date | April 21, 2008 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Jonte on behalf of the Operations Working Group (OWG) |
| E-mail Address | John.jonte@CenterPointEnergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2252 |
| Cell Number |  |
| Market Segment | IOU |

Comments

The Operations Working Group (OWG) recommends that the focus/scope of OGRR 208 be narrowed to the consideration of wind generation only.

Revised Proposed Guide Language

None.