| NPRR Number | 124 | NPRR Title | Resource Node Updated Definitions |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Referred to TPTF |
| Date of Decision |  | April 18, 2008 |  |  |
| Protocol Section Requiring Revision |  | Section 2.1, Definitions |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies the definition for Resource Node and specifies the different Resource Node types that meet the Nodal Protocol requirements. |  |  |
| Overall Market Benefit |  | Protocols that accommodate the full range of intended capabilities of the Nodal Market. |  |  |
| Overall Market Impact |  | Minimal impact in terms of designating names of Resource Node types and utilizing Resource Node types correctly in day-to-day market activities. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | None. |  |  |
| Procedural History |  | - On 4/10/08, ERCOT posted NPRR124. - On 4/18/08, PRS considered this NPRR. |  |  |
| PRS Decision |  | On 4/18/08, PRS unanimously voted to refer NPRR124 to the Transition Plan Task Force (TPTF). All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 4/18/08, PRS noted that NPRR124 has not yet been reviewed by TPTF. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | The Nodal Market will not work as intended without these proposed changes. |  |
| --- | --- | --- | --- |
|  | 2 | The Market Management System (MMS) design is moving this direction |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Effectively meet Protocol intentions | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Enables the MMS to effectively meet the Protocol intentions. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | This is the official follow-up to the Transition Plan Task Force (TPTF) and Wholesale Market Subcommittee (WMS) meetings discussing the proposed MMS implementation. TPTF and WMS have tacitly agreed to the approach presented. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Curtis Crews |
| Company | ccrews@ercot.com |
| Market Segment | Not applicable. |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

Section 2.1	Definitions

Resource Node

(1)	A Resource Node is an Electrical Bus defined in the Network Operations Model where a Day Ahead Settlement Point Price and a Real-Time Settlement Point Price are calculated.  The various types of Resource Nodes are described below:

a)  	Resource Node:  An Electrical Bus defined in the Network Operations Model that is associated with a Resource and is not part of a combined cycle plant.  One Resource Node can have several Resources mapped to it.

b)  	Combined Cycle Unit (CCU) Resource Node:  An Electrical Bus defined in the Network Operations Model that is associated with a Resource and is part of a combined cycle plant.  One CCU Resource Node can have several Resources mapped to it.

c)  	Private Use Network (PUN) Resource Node:  An Electrical Bus defined in the Network Operations Model that represents the interconnection point of a Private Use Network (PUN) to the ERCOT Transmission Grid.  No specific Resources are associated with a PUN Resource Node.  A PUN can have several PUN Resource Nodes.

(2)	Combined Cycle Plant (CCP) Logical Resource Node: In addition to the Resource Nodes described above, there are also Combined Cycle Plant (CCP) Logical Resource Nodes.  Each combined cycle train shall have one CCP Logical Resource Node.  A CCP Logical Resource Node is not a physical location within the ERCOT Transmission Grid but it is the logical representation of a Resource Node for a combined cycle train.  DAM energy-only Offers, DAM energy bids, CRR offers and bids, and QSE to QSE transactions cannot be submitted at a CCP Logical Resource Node.