## March 08-Chart
Nodal EDS environment - IT SLA metrics
Availability report for the month of: March 2008 |  |  | Click here for EDS SLA v4.0
Env / App Name | Availability | SLA Target | Comments
EDS H/W Infrastructure | 99.56 | 95
Load Frequency Control (LFC) | 96.45 | 95
State Estimator (SE) | 95.15 | 95
SCED | 83.44 | 95 | Software bug caused outages when certain combination of data occurred. Temporary fix received from ABB, permanent fix to be received with next release.

## EDS HW Summ
EDS HW Infrastructure Availability
Effective: Feb 2008 - TBD
Month | Server Count | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 59 | 2401920 | 20657 | 2381263 | 12963 | 99.46% | 95%
March | 55 | 2455200 | 0 | 2455200 | 10811 | 99.56% | 95%
April
May
June
July
August
September
October
November
December
Jan - Dec 2008 (YTD) |  | 4857120 | 20657 | 4836463 | 23774 | 99.51%

## LFC Summ
Load Frequency Control (LFC) Availability
Effective: Feb 2008 - TBD
Month | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 41760 | 200 | 41560 | 455 | 98.91% | 95%
March | 44640 | 101.82 | 44538.18 | 1581.11 | 96.45% | 95%
April
May
June
July
August
September
October
November
December
Jan - Dec 2008 (YTD) | 86400 | 301.82 | 86098.18 | 2036.11 | 97.64%

## SE Summ
State Estimator (SE) Availability
Effective: Feb 2008 - TBD
Month | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 41760 | 200 | 41560 | 455 | 98.91% | 95%
March | 44640 | 591.13 | 44048.87 | 2136.37 | 95.15% | 95%
April
May
June
July
August
September
October
November
December
Jan - Dec 2008 (YTD) | 86400 | 791.13 | 85608.87 | 2591.37 | 96.97%

## SCED Summ
SCED Availability
Effective: Feb 2008 - TBD
Month | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 41760 | 544 | 41216 | 2176 | 94.72% | 95% | Troubleshooting of JBOSS server stability issues required unplanned maintenance of MMS environment.
March | 44640 | 1342.84 | 43297.16 | 7170.01 | 83.44% | 95% | Software bug caused outages when certain combination of data occurred. Temporary fix received from ABB, permanent fix to be received with next release.
April
May
June
July
August
September
October
November
December
Jan - Dec 2008 (YTD) | 86400 | 1886.84 | 84513.16 | 9346.01 | 88.94%