April 11, 2008

Floyd Trefny, Reliant

RE: NPRR124, Resource Node Updated Definitions

General Comments

Reliant does not believe that this change is needed.  The existing definition is broad enough to cover the intended use of the terms.  Resource node is used in many places in the protocols and this definition change could imply changes in other areas that are not intended.