| NPRR Number | 107 | NPRR Title | Nodal Emergency Interruptible Load Service (EILS) |
| --- | --- | --- | --- |
| Date |  | April 30, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Paul Wattles |  |
| E-mail Address |  | pwattles@ercot.com |  |
| Company |  | ERCOT Staff |  |
| Phone Number |  | 512-248-6578 |  |
| Cell Number |  | 512-740-7050 |  |
| Market Segment |  | n/a |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Revised Proposed Protocol Language

These comments are submitted informally to TPTF in response to the draft TPTF comments submitted by Reliant Energy on March 12, 2008.

ERCOT has made additional suggested edits on top of the Reliant comments, submitted as a separate document.

- Section 2.1 (Definitions).  ERCOT has no objection to Reliant’s recommendation for removing the requirement from the definitions.  The requirement is accurately cited in paragraphs (1) and (2) of Section 3.14.3.

- Universal replacement of “EILS Resource” with “EILS Load.”  ERCOT understands the concern about confusion on the term “EILS Resource” (EILS participants are not Load Resources) but is also concerned that “EILS Load” implies a single load point, while aggregations are allowed.  This merits some discussion at TPTF.

- Universal replacement of “EILS bids” with “EILS Offers.”  No objection.

- Section 3.14 (21):  Reporting requirements.  The original NPRR 107 language is taken directly from PUCT Subst. Rule 25.507 (f).  ERCOT must object to any alterations to this language.  ERCOT is also unsure of the intent of the Reliant recommendation as it pertains to posting of the EILS award information on the secure section of the ERCOT MIS.

- Section 6.5.8.  Reliant proposes moving this section (describing EILS deployment) into Section 6.5.9.4.2(3), EECP Steps.  No objection.

- Section 6.5.9.4.2(3), EECP Steps, as revised.  ERCOT has consulted with Reliant on this issue and offers recommended substitute language for this provision, which allows for a sequential deployment of EILS in two groups if 500 MW or more of EILS capacity is available.  See ERCOT redlines to the Reliant comments.

- Section 6.6.11, Capacity Payments and Capacity Charge.  ERCOT addresses Reliant’s concern by renumbering and retitling this section to clearly separate the Capacity Payments section from the Capacity Charges section.  The new numbering and titling mimics that used for Black Start in the Nodal Protocols (Sec. 6.6.8).

- ERCOT also notes that it has filed formal comments to NPRR 107 with the objective of incorporating the clarifying changes embodied in Zonal PRR 760.  PRS gave initial approval to PRR 760 on April 18, and will consider the PRR again (with its Impact Assessment) on May 22.  ERCOT has incorporated the changes from these ERCOT Comments into its redline of the Reliant Comments, and respectfully asks that TPTF endorse these ERCOT Comments incorporating the PRR 760 changes.