•	#2 All QSEs including wind QSEs MUST be vigilant in updating their Resource Plan and keeping it accurate.

QSEs representing WGRs shall update their Resource Plans and Schedules to reflect the expected wind generation production after the close of the Replacement Reserve market. The energy schedules submitted for wind resources should correspond with the Resource Plan scheduled energy output in order for real-time balancing and the operator entered offset to perform properly.
The paragraph below  captures the intent for use in proposing PRR language.
ERCOT shall provide forecasts for each WGR to the QSEs representing WGRs and shall deliver the forecasts before Replacement Reserve Procurements to allow the QSEs to update the WGR Resource Plans.  QSEs shall use the ERCOT-provided forecasts for WGRs as the planned operating level for the 1600 Resource Plan and as requested by the ERCOT Operators.