NPRR Comments


	NPRR Number
	117
	NPRR Title
	Resource Registration Clarification

	
	

	Date
	May 2, 2008

	
	

	Submitter’s Information

	Name
	Patrick Coon

	E-mail Address
	pcoon@ercot.com

	Company
	ERCOT

	Phone Number
	512 248-3911

	Cell Number
	

	Market Segment
	ISO


	Comments


	Overall Market Benefit
	

	Overall Market Impact
	

	Consumer Impact
	


	Revised Proposed Protocol Language


ERCOT agrees with comment submitted by Reliant.  The insertion of “Generation” needs to be removed and read: “The Resource Entity shall register each All-Inclusive Resource with ERCOT through ERCOT registration.”

ERCOT agrees with modifications made by Luminant to section 2.1.  

ERCOT agrees with modifications made by Luminant to sections 3.7 (3) and (4); 3.7.1.3; 3.7.2.

NPRR Comment Form 
Page 1 of 2
PUBLIC


