## Thermal FGR - Singular Element
|  | Location | Offer/Bid Price | MW
| G1 | A | 20 | 1
| G2 | A | 30 | 2
| G3 | B | 50 | 3
| Load | B | 70 | 3
|  | From | To | Base Case Rating (MW) | Contigency Rating (MW)
| Line 1 | A | B | 1 | 1.5
| Line 2 | A | B | 1 | 1.75
Assumption: | Line 1 and Line 2 have equal impedance.
FGR 1 is defined as Line 1
FGR 2 is defined as Line 2.
| In Auciton, FGR 1 is sold based on Line 1 Base Case (MW): |  |  | 1
| In Auciton, FGR 2 is sold based on Line 2 Base Case (MW): |  |  | 1
| INF for FGR1 Base Case: |  | 1
| INF for FGR1 Contingency: |  | 1.5
Scenario: DAM Binding on Contigency Case
Dispatch @ A:
MW
|  | G1 | 1
|  | G2 | 0.5
Dispatch @ B:
|  |  | MW |  | Base Case Flow: | 0.75
|  | G3 | 1.5 |  | Contigency Case Flow: | 1.5
|  | Load | 3 |  | Revenue: | 100
|  | LMP @ A: | 30
|  | LMP @ B: | 50
|  | Shadow Price on Line1: |  | 20
| DAM Congestion Rent | 30
| DAM FGR Payout | -30
Net Revenue:
0