## Slide 1
Welcome
Back!
Notes: Thank you for your Attention.
Privileged to speak on the ERCOT Outage Scheduler.

## Slide 2
John Jarmon
6 yrs. ERCOT employee: Outage Coordination, Real-Time Operations
22 years in Electric Industry: 16 yrs. Power Plants - Senior Electrician / Senior Operator
Education: AA Electrical Technology, North Lake College, Dallas TX
License/Certifications: Master Electrician State of Texas, NERC / ERCOT certified
8 years US Navy
Notes: A few facts about myself.

## Slide 3
ERCOT
Outage Scheduler
Notes: -Read Notes 1st-
1- Today I will present a course on the ERCOT Outage Scheduler.
2- I know several of you are familiar with the Outage Scheduler already, but there may also be those who are just getting acquainted with this tool or may see themselves using it sometime in the future.

## Slide 4
Objectives
Explain:
The purpose of the ERCOT Outage Scheduler
How to obtain technical support related to the ERCOT Outage Scheduler
The function of the ERCOT Outage Scheduler Custom Filter.
Displayed information located on the ERCOT Outage Scheduler summary page
What the ERCOT Outage scheduler Update Log identifies and how to access this information
Where to locate and access the ERCOT Outage Scheduler User Guide.
Notes: -Read Notes 1st-
1-The ERCOT Outage Scheduler has numerous functions and features which cannot all be covered in one 50 minute presentation.
2- I created a list of objectives which I will try to cover in this course that I hope, will offer a little helpful information to everyone
-Read objectives from slide-

## Slide 5: Purpose
The ERCOT Outage Scheduler is a web-based scheduling application.
Allow Market Participants to create, view and edit generation and transmission scheduling information.
Allow ERCOT to study the impact of outage requests and meet outage coordination goals as described in Section 8 of the ERCOT Protocols: Planned Outages and Maintenance Outages of Transmission and Resource facilities.
Refer to http://www.ercot.com to view the latest versions of the Protocols
Notes: -Read Slide-

## Slide 6: Locating the Protocols at: www.ercot.com
Notes: Explaining how to find the protocols on ERCOT website

## Slide 7
Objectives
Explain:
The purpose of the ERCOT Outage Scheduler
How to obtain technical support related to the ERCOT Outage Scheduler
The function of the ERCOT Outage Scheduler Custom Filter.
Displayed information located on the ERCOT Outage Scheduler summary page
What the ERCOT Outage scheduler Update Log identifies and how to access this information
Where to locate and access the ERCOT Outage Scheduler User Guide.
Notes: -Read slide-

## Slide 8: Technical Support
For technical support issues, contact the ERCOT help desk at (512) 248-6800.
A help desk operator may be able to answer some of your questions.
For problems specific in nature, a help desk operator will create a ticket, record your contact information and forward to the respective department.
An ERCOT technical representative from that department will contact you concerning the question or problems that you’re experiencing.
Notes: -Read Slide-

## Slide 9
Objectives
Explain:
The purpose of the ERCOT Outage Scheduler
How to obtain technical support related to the ERCOT Outage Scheduler
Displayed information located on the ERCOT Outage Scheduler summary page
The function of the ERCOT Outage Scheduler Custom Filter.
What the ERCOT Outage scheduler Update Log identifies and how to access this information
Where to locate and access the ERCOT Outage Scheduler User Guide.
Notes: -Read Slide-

## Slide 10: The ERCOT Outage Scheduler Summary Page has two main sections. These sections are the areas with a White and Blue background.
Notes: -Read Notes-
1-The Outage Scheduler summary page has two main two main sections.
2- These sections can be recognized by the areas with a White and Blue background. (click effects)
1- After logging in, the ERCOT Outage Scheduler summary page appears and retrieves selected outages appropriate for each user.

## Slide 11: The area of the Outage Scheduler with the White background provides function buttons. These buttons allow you to filter, enter, print outage data, export data to a text file and change pages of the summary display.
* Your function abilities may vary from those displayed in this course due to permission differences associated to each user role.
Notes: -Read Slide-
1 – Displayed here is the Outage Scheduler for a user role of an ERCOT Outage Coordinator.
2 – Because function ability varies dependent on the respective user role, the display and functions of your Outage Scheduler may look slightly different than what is displayed in this course.
3- However, both QSE’s and T.O.’s should see their function abilities on this display.
6- The area with a White background provides function buttons. (click effects) Buttons in this area allow you to filter, enter, and print outage data, as well as export this data to a text file.
7- In this course I will talk about those functions that are available to most users.

## Slide 12: The area of the summary page that has a blue background contains information that is unique to the equipment and specific to an outage. (Transmission Summary)
*Columns can be placed in Alphabetical or Numerical order by clicking on those columns that have underlined titles.
Notes: -Read slide 1st- Recognize Transmission -
1- These columns can be placed in alphabetical or numerical order by simply clicking on the Underlined Column Titles (click effect).

## Slide 13: Resource and Transmission summary displays have similar information. The Resource summary also provides columns that identify Contracted Units and the Maximum Generation Available on Derated Units. (Resource Summary) Contracted Units are Black Start and RMR (Required Must Run) Units
Notes: -Read Notes 1st-
1- This is a summary display for Resource outages. The Resource and transmission outage summaries have similar information.
2- However, notice the last two columns on the Resource Summary, Maximum Generation and Contracted Units. (click effects)
3- The Maximum Generation column identifies the maximum generation available on a unit, for those units that are entered into the Outage Scheduler as a De-rated Request Type. When the ERCOT Outage Coordinators import outages into their studies, this mw value will get pulled in also and will replace the previous maximum mw value that is recognized on that unit.

## Slide 14: Transmission Outages become public information as they are entered into the Outage Scheduler. Resource Outages become public information 6 months after the planned end date expires.

## Slide 15: ERCOT Outage Scheduler Summary Page
Upon logging into the Outage Scheduler,
by default, the Summary Page lists the
first 15 outages with the oldest entries
displayed first, that are identified in
The Request Date column.
Selecting the > button
displays the next 15
outages in ascending
Order.
Notes: 1-Upon logging into the ERCOT Outage Scheduler, outages will be displayed appropriate for each user.
2- By default, the outages displayed were scheduled for the current day.
2- Notice the Request Date column, also by default , the first 15 outages displayed are by Request Date with the oldest entries displayed first. (click effects)
3- To see the next 15 outages, select the single forward (>) button. (click effects)

## Slide 16: ERCOT Outage Scheduler Summary Page
Selecting the >> button
displays the end of the
records (most recent)
Notes: 1-To jump to the end of the records, select the double forward (>>) button.
2-This will display the most recent outages scheduled for the current day.

## Slide 17: ERCOT Outage Scheduler Summary Page
The Summary Page is a
database of outage records
The web browser back and forward
buttons will exit the user from the
ERCOT Outage Scheduler
Notes: 3- To view the previous 15 outages, select the single backwards (<) button. (click effects)
4- To jump to the beginning of the records select the double backwards (<<) button.
5- Do not use the Web browser’s back and forward buttons, they will not work as they do in non-database web pages. (click effects)

## Slide 18: ERCOT Outage Scheduler Summary Page
Notes: 1- The Outage Scheduler function buttons provide full-screen windows or, “Pop-Ups”.
2- These pop-ups appear in front of the Summary Page window when any of the function buttons are selected.
3- Most pop-ups lack a menu and tool bar and cannot be resized.
4- To find outages scheduled entirely in the past, or to enter criteria to limit your search results, click the Apply Custom Filter (click effects) button, located just above the summary page tool bar.

## Slide 19
Notes: 1- Use drop lists to select desired filtering criteria.
2- In this display, the current filtering criteria if applied, would display all transmission outages between 00:00 and 23:00 for January 12, 2004

## Slide 20
By holding down the
Control (Ctrl) key, more than
one selection can be made in
the same field
The Custom Filter allows a user to:
Filter by Outage Type, Historical and
Future Outages, Narrow the Search
Of Outages
Notes: 1- Outages that match any of the selected values in one field combined with any selected values in other fields, will appear.
2- All other outages, in the default selection, that do not associate with the values you select, will be hidden.
3- By holding down the Control Key (CTRL) on your keyboard, multiple selections can be made in the same field.
4- When Apply Filter is selected, all outages that meet the filtered criteria will be displayed on the Outage Summary Page.
3- STOP!....Describe the Custom Filter, filtering criteria as displayed. Then go to next slide.

## Slide 21: The Custom Filter allows the user an ability to narrow a search such as by, filtering for historical and future outages and by the outage type.
Notes: 1-Displayed are all the Approved circuit breaker outages TXUED had during the month of January 2007 at SDSES.
2- All other transmission outages across the state, that took place during this time frame are filtered out and hidden.
3- As you can see, the Custom Filter allows the user the ability to narrow a search.

## Slide 22
Notes: 1- The last function on the Custom Filter we’ll talk about is the Default Filter.
2- By selecting this filter function, all selections made in the various fields will clear and the summary will display all outages for the current day respective to each user.

## Slide 23: The Default Filter will clear (reset) all selected fields in the Custom Filter. By Default, the Summary Display will then show all outages respective to each user role, that was scheduled for the current day.

## Slide 24
Objectives
Explain:
The purpose of the ERCOT Outage Scheduler
How to obtain technical support related to the ERCOT Outage Scheduler
The function of the ERCOT Outage Scheduler Custom Filter.
Displayed information located on the ERCOT Outage Scheduler summary page
What the ERCOT Outage scheduler Update Log identifies and how to access this information
Where to locate and access the ERCOT Outage Scheduler User Guide.
Notes: 1 - We are talking about Outage Summary Displays. We also talked about Summary Display information related to the function of the Custom Filter.
2- Let’s continue to look at a few other Function Buttons, their related Summary Displays, and the information they provide in the ERCOT Outage Scheduler.

## Slide 25: ERCOT Outage Scheduler Summary Page
Double clicking on any one outage record displays detailed information of that outage.

## Slide 26: The Outage Detail Page provides additional information specific to a single outage not displayed on the summary page.
Open breaker for loss of CB_3840 a t Sandow SES in
conjunction with work on CB_3890
Notes: 1-A detail page will appear which provides additional information such as Requestor Notes, Remedial Action Comments and Reviewer Notes.
2- There is also an area where Actual Start and Actual End times can be entered.
3- After editing the detail page, select Save, any changes will become a permanent record entry.
4- Select Close to exit the Detail Page.

## Slide 27: ERCOT Outage Scheduler Summary Page
Notes: 1- Now you have returned back to the normal default summary for the TXU SDSES circuit breaker outages during the month of January 2007 based on the Custom Filtered criteria.

## Slide 28: ERCOT Outage Scheduler Summary Page
Notes: 1- The function button: Create New Outage, is selected for entering new outages into the outage scheduler.

## Slide 29: Outage Types entered should describe the outage as accurately as possible.
Notes: 1- The first “pop-up” that appears after clicking the Create New Outage function, is a window where the type of outage is determined and selected.
2- The outage description should reflect the type of outage entered as accurately as possible. (click effects)
3- STOP…. Point out the Equipment Status Change, also, explain Tentative outages are not imbedded into our studies and is cancelled by default.
4- Upon making the outage type selection, click on Continue.

## Slide 30: Outage Entry Windows: Resource & Transmission
Notes: 1- A window is displayed where your respective outage information can be entered and submitted.
2- Again, your display may look slightly different that this one due to the difference is user roles we each have.
3- Use the drop lists to select the required outage information. As outage information is selected, the following fields will populate and narrow it’s options as the field associates information previously selected.
4- The ERCOT Outage Scheduler has numerous business rules written and incorporated into it’s software. As a result, if the Outage Scheduler recognizes entry violations or conflicting information, a pop-up will display bringing the error to your attention.
5- If problems are experienced entering an outage, you can call an ERCOT Outage Coordinator and we’ll try to help you.

## Slide 31: ERCOT Outage Scheduler Summary Page
Notes: 1- The next function we’ll look at is the Print Current List.
2- In this Display, this button is located near the center of the top row in the function area. (click effects)

## Slide 32: The Print Current List function provides the ability to print a hard copy of the current outage list in a detailed report format .
Notes: -Read Notes-
1- Every standard browser has a print function that will produce a hardcopy output similar to the on-screen display. However, the Outage Scheduler allows the current outage list to be printed in a report format that offers more detailed information.
2- After selecting the Print Current List function, a print preview pop-up window is displayed.
3- This list not only displays important summary information but, also displays Requestor and Reviewer notes normally found on the outage Detail Page. (click effects)
4- To print the list, click anywhere on the pop-up, click the Print option, select your desired print options, then click OK.

## Slide 33: ERCOT Outage Scheduler Summary Page
Notes: 1- The final function I will talk about is the Export Comma-Delimited File.
2- This function creates a text file of the current outage list which can then be exported and reopened in a spreadsheet program.

## Slide 34: The function, Export Comma Delimited File, allows more in-depth analysis such as multi-level sorting.
Notes: 1- This function allows more in-depth analysis to be performed than is directly supported by the ERCOT Outage Scheduler, such as multi-level sorting.

## Slide 35: Saving an Outage List Comma Delimited Text File
To Export Outage data:
Click on the Export Comma Delim File button located in the function area of the Outage Scheduler Summary page
Select File>Save As….from the pop-up menu.
Navigate to the desired storage location.
Replace “createfile” in the file name field with the desired file name, including the .CSV extension.
Select “Text File (*.txt)” in the Save As Type field.
Click save.
Notes: 1- Provided in your book, are some quick instructions how to save the current outage list as a text file which can then be exported and reopened in a spreadsheet program.

## Slide 36
Objectives
Explain:
The purpose of the ERCOT Outage Scheduler
How to obtain technical support related to the ERCOT Outage Scheduler
The function of the ERCOT Outage Scheduler Custom Filter.
Displayed information located on the ERCOT Outage Scheduler summary page
What the ERCOT Outage scheduler Update Log identifies and how to access this information
Where to locate and access the ERCOT Outage Scheduler User Guide.
Notes: 1- Next I will quickly explain the Outage Scheduler Update log.

## Slide 37: The outage Update Log is accessed from the Outage Detail Page.
Notes: 1- Double clicking on any outage on the Outage Summary Display will open the detail page of that outage.
2- The ERCOT Outage Scheduler records a log of all changes made to an outage.
3- The detail page displays required information that is submitted with an outage plus, areas to include Requestor, Remedial Action and Reviewer Notes (click effects 1x).
4- The Detail page also provides an executable function titled View Update Log (click effects 1x).
2- The Update Log identifies the date and time the last entry was saved, (click effects 4x) the user who saved the last entry, the users company name, and the action performed by the user.
3. Actions that are logged include but, may not be limited to: outage extensions, updating outage actual start or end times, cancellations, outage entries, when an outage is placed in study, and outage approvals.

## Slide 38
Objectives
Explain:
The purpose of the ERCOT Outage Scheduler
How to obtain technical support related to the ERCOT Outage Scheduler
The function of the ERCOT Outage Scheduler Custom Filter.
Displayed information located on the ERCOT Outage Scheduler summary page
What the ERCOT Outage scheduler Update Log identifies and how to access this information
Where to locate and access the ERCOT Outage Scheduler User Guide.
Notes: 1- In a short amount of time, I presented to you several functions that are incorporated into the current Outage Scheduler we use today.
2- However, there are many more interesting features to the ERCOT Outage Scheduler that were not mentioned.

## Slide 39: Access to the ERCOT Outage Scheduler User Guide, is located in the Function Area of the Outage Scheduler Summary Page.
Notes: 1- On the ERCOT Outage Scheduler Summary Page there is a User Guide executable function (click effects 1x) that when selected, will open the ERCOT Outage Scheduler users guide in Adobe Reader format.

## Slide 40: The ERCOT Outage Scheduler User Guide
Notes: 1- The ERCOT Outage Scheduler User Guide has 44 pages of fun filled reading entertainment that really digs deep into the frontal-lobes. This is some great reading material that will help you learn more about the various functions and pop-up windows incorporated into the ERCOT Outage Scheduler that we may not have covered during this presentation..

## Slide 41
References
ERCOT Outage Scheduler
ERCOT Outage Scheduler User Guide Version 3.1
Notes: 1- The information in this presentation was referenced from the ERCOT Outage Scheduler and the User Guide Version 3.1.

## Slide 42
Questions
?
?

## Slide 43: ERCOT is an interconnect within the boundaries of one state. With the number of outages Texas has each day, the ERCOT interconnect requires all of us to continue always working closely together, allowing progress to move forward, while ensuring the security and reliability of the interconnect.
Notes: -Read Notes 1st-
1- In closing, I’d like to ask how many of have you have heard or read about the European power outage that happened last November.
2- There have been a few articles on it, this is one of them.
3- To paraphrase what this article says:
a) It states that a power company had shut down a “High Voltage” transmission line over a river to allow a cruise ship to pass by.
b) One company mentions that transmission lines have been shut down in the past without any problems.
c) On a Saturday night when this line was shut down, it caused a chain reaction of power outages that left about 10 million people without power across Europe.
d) The article talks about the impact the power outage had across Germany, France, Italy, Austria, Belgium and Spain.
e) Of coarse, questions were then raised on this event, and drew an immediate call for stronger coordination.
3- Folks, speaking on behalf of all the outage coordinators here at ERCOT, we know that nobody knows their systems better than you do. We rely a lot on the knowledge and expertise you have of your systems and greatly appreciate and value, the working relationships we have together. Lets continue to always communicate our outages so an event like this one does not happen in Texas.
4- The ERCOT outage coordination department literally has 10’s of thousands of outages come across their desk every year. We have worked together coordinating the required outages necessary to install new sub-stations. As we continue to prepare and move toward the world of NODAL, we have seen a significant number of outages to replacing old electro-mechanical relay panels with solid state retrofits. We are also working together to string and reconductor new lines across our state.
5- As we look at Texas, we may see the borders growing but, we can definitely expect to see the economy continue to grow. Industry here in Texas will continue to grow and so will the populations. Therefore, I think can continue to expect seeing 10’s of thousands of outages a year come across our desk here at the ISO. We want to see progress move forward so we can meet the future demands of our state and the ERCOT ISO. But, this will require all of us to continue working closely together as we isolate pieces of our electrical infrastructure to allow progress to move forward while ensuring the security and reliablity of the interconnect.