## Slide 1: Modeling And Energizing Equipment
W. Curtis Crews, PE, ’95
Engineering Supervisor
Network Model Group

## Slide 2: Objectives
Identify the roles of ERCOT Modeling entities
State the benefits of accurate modeling
Summarize the reliability issues involved
Explain and Identify the Model schedules at a high level
Identify necessary modeling steps to energize equipment

## Slide 3: Agenda
WHY? / WHO? / WHAT? / WHEN?
Modeling Today
Modeling Tomorrow
Modeling Comparison
Energization Today
Energization Tomorrow

## Slide 4: Modeling
Glamorous……???

## Slide 5
Glamorous!!!!!!

## Slide 6: Why?
An accurate timely model of the transmission grid is required to determine current and near future reliability (most important!!) and security of the ERCOT Transmission grid.
Generally speaking….Outage Scheduling/Coordination, State Estimator, Contingency Analysis, and other power application software packages depend upon an accurate model to produce better results and decisions.

## Slide 7: Who?
Steady State Working Group (SSWG) for Annual Planning Model(s). The SSWG is a group of Market Participants providing the most accurate and timely model data to effectively represent the future Transmission Grid.
Network Data Support Working Group (NDSWG) for Operations Model(s). The NDSWG is a group of Market Participants providing the most accurate and timely model data to effectively represent the ever changing Transmission Grid.

## Slide 8: Modeling Today Planning and Operations
WHO-TSPs for changes in Transmission Grid QSEs/PGC for changes in Resources
WHAT-Equipment such as Transmission lines, generators, circuit breakers, transformers, disconnects, reactive devices, protection and control schemes

## Slide 9: Modeling Today (Operations) Rules
Protocol Rules are in Protocol Section 8.8 “Coordination for System Topology Modifications”
Three (3) pages of Who? What? When?
Operating Guide Section 8 “Operational Metering and Communication”
Eleven (11) pages of Who? What? When?
NDSWG responsibility

## Slide 10: Modeling Today Operations
WHEN- 30-day minimum notification via a Service Request
WHEN (more details)- As needed for Real-time operations- Think SCADA/ICCP here!
If timeline is not met an Incident Report may be generated.

## Slide 11: Modeling Timeline (Today-Operations)
Model
Updates
Energize
Updates
Energize Date Updates
30 Days prior to energizing
and placing into service
Updates occur daily
This represents a rolling 30 day requirement. Model updates today are on a bi-weekly schedule. Model Changes are
Dependent on
Energize dates!!
Note the color scheme…as you get closer to something real, Maroon and White appears….

## Slide 12: Modeling Today (Planning) Rules
Protocol Rules are in sprinkled throughout the Protocol (no specific section)
Limited references of Who? What? When?
Operating Guide Section 5 “Planning”
Fourteen (14) pages of Who? What? When?
SSWG responsibility

## Slide 13: Modeling Today Planning
WHEN- Per SSWG Procedural Manual.. Seasonal updates to data

## Slide 14: Modeling Timeline (Today-Planning)
One
Year
Two (2)
Years Out
Three (3) Years Out
Four (4) Years Out
Five (5 ) Years Out
Next slide looks a little closer at updates to time periods
This is a “generalization” for illustrative purposes only. The SSWG Manual has discrete times listed
Note the DHS color scheme……

## Slide 15: Modeling Timeline (Today-Planning)
Seasonal
Updates
Next Season
Updates
Next Season Updates
Next Season Updates
Updates occur on all the rest of the years as well
This is a “generalization” for illustrative purposes only. The SSWG Manual has discrete times listed
Spring
Summer
Fall
Winter

## Slide 16: Planning Seasons
SSWG Seasons are as follows:
Spring March, April, May
Summer June, July, August, September
Fall October, November
Winter December, January, February

## Slide 17: Model Consistency Novel Idea!!!!!
Prior to OGRR 181 there was NO requirement to ensure that data provided in Planning Models was consistent to the extent practicable with data provided for Operation Models (or vice-versa)

## Slide 18: Modeling Tomorrow
“Well, thank God we all made it out in time. . . . ‘Course now we’re equally challenged”

## Slide 19: Modeling Tomorrow Operations
Protocol Rules are in Nodal Protocol Section 3.10 “Network Operations Modeling and Telemetry” although other implicit requirements are sprinkled throughout Nodal Protocols
Twenty-two (22) pages of Who? What? When?
Operating Guide Section 8 “Operational Metering and Communication”
TBD pages of Who? What? When?

## Slide 20: Modeling Tomorrow Operations
WHO-TSPs for changes in Transmission Grid QSEs/PGC for changes in Resources
WHAT-Equipment such as Electrical Busses, Transmission lines, circuit breakers, transformers, disconnects, reactive devices, protection and control schemes

## Slide 21: Modeling Tomorrow Operations
WHEN- Three (3) month minimum notification via a Network Operations Model Change Request (NOMCR)
WHEN- Summer months require more notification time (refer to Nodal Protocols 3.10.1)
WHEN (more details)- As needed for Real-time operations Think ICCP here!

## Slide 22
Any changes past Jan 1 for model representing April REQUIRE a report to PUCT and WEMM

## Slide 23: Modeling Tomorrow Operations
What happens if timeline is not met?
Report to PUCT and Wholesale Electric Market Monitor (WEMM) per Texas Nodal Protocol 3.10.4 (5)

## Slide 24: Modeling Comparison (Operations Today vs Tomorrow)
Who - Usual Suspects remain the same
What - Core basic elements remain the same
  “New” Electrical Bus
  Additional Telemetry possible
When - 30 days vs 3 months minimum notification with more notification required for summer months

## Slide 25: Modeling Tomorrow Planning
Texas Nodal Protocols Section 3.10.2 and 3.11 give outline and refer to Operation Guide 5

## Slide 26: Modeling Comparison (Planning Today vs Tomorrow)
Similar but details are TBD
It is safe to say that the Network Model Management System (NMMS) will play a significant role in all Model creation and maintenance in the future. For more on that visit
http://nodal.ercot.com/projects/nmms/index.html

## Slide 27: Energization Today
Protocol Rules are in Protocol Section 8.8.1 “Coordination with ERCOT”
“Prior to energizing and placing into service any new or relocated Facility connected to the ERCOT Transmission Grid, TSPs shall coordinate with and receive approval from ERCOT.”

## Slide 28: Energization Today
Implemented by Power Operations Bulletin #266 (located at http://www.ercot.com/services/comm/mkt_notices/pobs/2006/Power_Operations_Bulletin_266.pdf )
ERCOT Procedure titled “Transmission and Generation Energize Approval Procedure” (located at http://oldercot.ercot.com/tmaps/ListMaps.cfm?GroupID=6 )

## Slide 29: Energization Today
Keys-
  Communicate and Plan Ahead
  A Service Request is required
  Communicate and check Model
  Communicate and call for Approval to energize (communicate)
  Receive “OK” a verbal approval based on Model check
  Energize equipment
  Follow-up with faxed form (Approval To Energize Form)

## Slide 30: Example

## Slide 31
Proposed changes but….
Energize Date of “X”
Energize date of “X plus 2 weeks”

## Slide 33
The 200 MW could not flow in the SE because model was inconsistent.

## Slide 34: Energization Tomorrow
Protocol Rules are in Protocol Section 3.10.1 Time Line for Network Operations Model Change Requests
“ERCOT shall only approve energization requests when the Transmission Element is satisfactorily modeled in the Network Operations Model.”

## Slide 35: Energization Tomorrow
Full procedure is pending
Expected to be similar to today’s process with the following caveats:
  Energize Date changes generate a PUCT/WEMM report
  No faxed form

## Slide 36: Modeling
Glamorous…..???

## Slide 37
Just to have equal time …….

## Slide 38: Modeling
Mr. Compliance……

## Slide 39: Summary
SSWG- Planning Models
NDSWG- Operations Model(s)
General benefits of accurate modeling: better result, better decisions
Reliability issues: Inaccurate Model produces inaccurate reliability
Planning- Quarterly updates/Yearly?
Operations- 30 days prior/3 to 6 months prior

## Slide 40: Summary
Approval to Energize Key steps
  Communicate and Plan Ahead
  A Service Request is required
  Communicate and check Model
  Communicate and call for Approval to energize (communicate)
  Receive “OK” a verbal approval based on Model check
  Energize equipment
  Follow-up with form (Approval To Energize Form)