| NPRR Number | 111 | NPRR Title | Timelines for Response by ERCOT to TSP Requests |
| --- | --- | --- | --- |
| Date |  | March 19, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | DeAnn Walker |  |
| E-mail Address |  | deann.walker@CenterPointEnergy.com |  |
| Company |  | CenterPoint Energy Houston Electric, LLC |  |
| Phone Number |  | 512-397-3032 |  |
| Cell Number |  | 512-784-0998 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

CenterPoint Energy does not oppose ERCOT’s proposed changes to the Nodal Protocols, but CenterPoint Energy believes that stated “Reason for Revision” is factually incorrect and misleading.  Therefore, CenterPoint Energy requests that the “Reason for Revision” be amended to be correct.  More specifically, Nodal Protocol 3.1.4.1 – Single Point of Contact – requires transmission service providers to have a single contact person available “seven days per week and 24 hours per day”.  Therefore, it is incorrect to state that Transmission Service Providers (TSPs) will not provide support to Outage coordinators on weekends and holidays.  As stated above, Section 3.1.4.1 requires the TSPs to provide such support.  CenterPoint Energy also believes that the rejection rate is due to other reasons than the TSPs submitting insufficient information.  ERCOT has not provided any basis upon which to conclude outages are rejected or moved due to the TSPs submitting insufficient information.  Therefore, CenterPoint Energy requests the following amendments:

“The reason for first revision is to add clarity and internal consistency.

The reason for the second revision is that the approval window for the 45-day timeline does not allow sufficient time to analyze the complicated Outages that typically occur during this time.  The five-day window for any given Outage can include weekends and holidays.  As a result, ERCOT’s effective approval window is often reduced to two or three days.  (An Outage submitted Friday afternoon must be approved on the following Tuesday).  Overall, this results in an increased percentage of Outages submitted in the 45-day process being rejected or moved into the nine-day process.  This approval window, therefore, needs to be expanded.  ERCOT Staff recommends that it be lengthened to 15 days, similar to the Zonal Protocols.”