## Slide 1: WMS Report To TAC
May 2008
Notes: No voting items
Fuel Index and PPAs in Verifiable cost (Process to fix)
Congestion money in Bena (more WMS discussion in May) what does TAC want? Lots of discussion on economic criteria for line maintenance
Wind issues and our assignment
TAC report outline
remind of seminar on May 9, focused on Demand side
VCTF – long discussion – 4 items remaining
Putting a value on Emissions
5 RUCs VS 1 RUC
Exceptional Events
PPA discussion
Move that WMS give provisional approval of the Verifiable Cost Manual subject to minor tweaks at TPTF and technical editing, that index costs be used for emission costs, give specific guidance that certain PPA costs shall be considered Verifiable Costs subject to WMS approved rules to prevent potential market abuses, and that all revisions return to WMS within 90 days for final approval
Verifiable Cost Implementation Plan (Vote)
Bruce moved to approve implementation Plan as posted
Stephenson seconded
Carries unanimously
Include timeline slide with when filings are made.
Formation of Verifiable Cost Subgroup – Jeff Brown of Coral to chair
Isabel’s congestion report – what do I need to say here.
We will be getting more in May from Beth and diving a little deeper into how we set OC1 and can we tune up zonal a little more.
Most cost in march most on W-N
Oversold TCRs W-N – add to Bena
Combination of TCR payout and counter flow payout on S-N – adds to Bena
N-H was undersold and reduces Bena
W-N is driven by wind and scheduled line maintenance that caused the oversold situation.
Point that Walter is making. Wind saves fuel – the new costs are really just unrealized – ignores the cost of transmission.
Anti Trust training
Wind Generation Workshop – WMS Action Items
Assigned to WMS:
LSL as % of HSL Performance Measure
WGR Ramp Rate Limitations
Wind QSE Resource Plan Update Timing
A/S Procurement During High Risk Period
Down Balancing Bids from WGR QSEs (Belk – because of recent work, linked to first bullet)
Note resource issues associated with the assignment to the QSEWG during nodal implementation.
Led into a discussion of List would add the discussion of whether to add or include economic criteria in outage considerations – related to the congestion report. Topic has been reviewed before with little progress. Reassigned to the CMWG.
Walter’s issue on the 20/80 forecast – over conservative will lead to too much capacity on line.
Notice Per Protocol for Limit on CRR Bids
Beth’s choice is simple hard limits.
current system dimension is 200K
Beth to present proposals in May, WMS to vote in June.
CRR Credit Policy Task Force Update
Clayton Greer presented
DAM benefits and impact of DAM failure
I will take more from his presentation.
Not a lot of pushback on the need to fix how defaults. I specifically asked if the problem need to be fixed and all those who spoke said yes.
Belk – write NPRR with multiple options, might have to rediscuss some of this. Bring back May 2008 WMS This group will continue to work with CWG on issues.
Note that we failed to catch a punt from PRS on PRR754 – will take up next month. OOM payments due to transmission outage.

## Slide 2: In Brief
One Working Group Reports
Two Task Force Reports
One Staff report
Other WMS action
Notes: Metering WG met!
VCTF
CRR Credit Policy (DAM defaults)
Congestion Report
WMS assignments from the Wind Operations work
CRR bid limit notice

## Slide 3
Interested in learning about the upcoming market changes
and how they affect DEMAND RESPONSE in ERCOT?
Join the ERCOT Demand Side Working Group for a 1-Day Seminar on
Demand Side Participation
in the Texas Nodal Market
Friday, May 9th 9:30 a.m. – 3:30 p.m.
ERCOT Austin, Room 206
7620 Metro Center Dr. Austin, TX 78744
Space is limited! Please RSVP to tgarza@ercot.com
Presenters include:
Brad Belk (LCRA), Mary Anne Brelinsky (Lehman Brothers), Tim Carter (Constellation New Energy), Shawnee Claiborn-Pinto (Public Utility Commission of Texas), Steve Krein (ERCOT), Nelson Nease (Nucor Steel), Malcolm Smith (Consumer Powerline), Floyd Trefny (Reliant Energy), Scott Wardle (Oxy), Paul Wattles (ERCOT), Jay Zarnikau (Frontier Associates)
Detailed Agenda: http://www.ercot.com/committees/board/tac/wms/dswg/index.html
5
Notes: Don’t miss it – its tomorrow!

## Slide 4: Working Group Reports Metering
Test report needed to be modified
Mission accomplished!
Notes: Meter Working Group Had their one meeting this year and may not meet again.
Dottie Disanto presenting, did have one problem the EPS meter inspectors brought up that our test report needed to be modified, change does not require a vote, be aware of new test report that is now to be used, needs to be downloaded. – no change in procedures needed - according to Don Tandon, just the meter report that the inspector fills out

## Slide 5: Task Force Report Verifiable Cost
Putting a value on Emissions
5 RUCs VS 1 RUC
Exceptional Events
PPA cost as Verifiable Cost
Notes: VCTF – long discussion – 4 items remaining
Putting a value on Emissions
5 RUCs VS 1 RUC
Exceptional Events
PPA discussion

## Slide 6: WMS Direction on Verifiable Cost
Index costs be used for emission costs
Certain PPA costs shall be considered Verifiable Costs
Approved Implementation Plan
TF formed for outstanding issues
Notes: Move that WMS give provisional approval of the Verifiable Cost Manual subject to minor tweaks at TPTF and technical editing, that index costs be used for emission costs, give specific guidance that certain PPA costs shall be considered Verifiable Costs subject to WMS approved rules to prevent potential market abuses, and that all revisions return to WMS within 90 days for final approval
Verifiable Cost Implementation Plan (Vote)
Bruce moved to approve implementation Plan as posted
Stephenson seconded
Carries unanimously
Include timeline slide with when filings are made.
Formation of Verifiable Cost Subgroup – Jeff Brown of Coral to chair

## Slide 7
Verifiable Cost Submissions by Generator Type
Type of Generator | Abbreviation | First Date Costs may be Submitted*
Simple Cycle Greater than 90MW | SCGT90 | 5/1/08
Simple Cycle Less than or Equal to 90MW | SCLE90 | 6/1/08
Gas Steam Non-Reheat | GSNONR | 7/1/08
Gas Steam Reheat Boiler | GSREH | 7/1/08
Gas Steam Super Critical Boiler | GSSUP | 8/1/08
Combined Cycle Less than or Equal to 90MW | CCLE90 | 8/1/08
Combined Cycle Greater than 90MW | CCGT90 | 9/1/08
Coal Lignite (or Coal-Fired plants) | CLIG | 9/1/08
*Note: Timeline based on WMS approval of the Verifiable Cost Manual in April 2008.

## Slide 8: Task Force Report CRR Credit Policy (AKA Defaults in the DAM)
Potential for a failure of the DAM
Options for new default process
Direction given by WMS to develop an NPRR to address
Issue to have more discussion as the NPRR works its way through
Notes: CRR Credit Policy Task Force Update
Clayton Greer presented
DAM benefits and impact of DAM failure
I will take more from his presentation.
Not a lot of pushback on the need to fix how defaults. I specifically asked if the problem need to be fixed and all those who spoke said yes.
Belk – write NPRR with multiple options, might have to rediscuss some of this. Bring back May 2008 WMS This group will continue to work with CWG on issues.

## Slide 9: ERCOT Staff Reports Congestion Report
It has not been a good year
There is a lot of wind power
There is not enough wire
There are lessons being learned
A lot of money has been uplifted
A lot more money has been left on the table
Notes: In the realm of brilliant understatements…..
We will come back to the lessons being learned
Operations will report on how they set OC1 and how they may tune up the zonal model a little more
The impact of transmission outage scheduling is obvious
BENA money is just the tip of the iceberg

## Slide 10: Congestion Charges vs. TCR Payments

## Slide 11: Congestion vs. TCRs - Jan
 | N_H | N_S | S_N | W_N | N_W | Month total
Congestion Charges | 0 | 2.6 | -2.0 | 7.5 | 0.7 | 8.8
TCR Payout | 0 | 1.7 | 0.6 | 15.7 | 1.8 | 19.9
Est. Shortfall | 0 | 0.9 | 2.6 | 8.2 | 1.1 | 11.1
Stability Issues:
Wind generation exceeded amounts stated in Resource Plans.
65 intervals had stability issues.
Loss of Willow Creek to Parker Switch on 1/27 impacted the stability limit.

## Slide 12: Congestion vs. TCRs - Feb
 | N_H | N_S | S_N | W_N | N_W | Month total
Congestion Charges | 0 | 7.0 | -0.5 | 8.5 | 8.1 | 23.1
TCR Payout | 0 | 4.9 | 0.2 | 27.6 | 28.9 | 61.7
Est. Shortfall | 0 | 2.1 | 0.7 | 19.1 | 20.8 | 38.6
Key outages
Graham to Sweetwater Generating Plant 345kV and Graham to Long Creek Switching Station 345kV 02/11-23; submitted on 1/30/2008
Forced outage at Abilene Mulberry Creek to Long Creek on 2/19
Frequency Events: 20 total
7 events were high frequency with wind accountable for 3 of the events

## Slide 13: Congestion vs. TCRs - Mar
 | N_H | N_S | S_N | W_N | N_W | Month total
Congestion Charges | 6.7 | 2.0 | -4.4 | 24.4 | ~0.01 | 28.7
TCR Payout | 8.0 | 1.3 | 2.5 | 49.1 | 0.05 | 61.0
Est. Shortfall | 1.3 | .7 | 6.9 | 24.7 | 0.04 | 32.3
Key 345kV outages:
Graham to Sweetwater 3/02-09; submitted on 2/21
Long Creek to Abilene Mulberry Creek 2/26-3/01; submitted on 2/21
3/02-04; submitted on 2/21
Morgan to Bitter Creek 3/15-18; submitted on 3/11
Morgan to Sweetwater 3/19-29; submitted on 3/11
Stability Issues: 2 days
Frequency Events: 32 total
19 high frequency events with wind accountable for 10 events due to sharp increases in wind generation

## Slide 14: Other WMS activity Wind Generation Workshop – WMS Action Items
LSL as % of HSL Performance Measure
WGR Ramp Rate Limitations
Wind QSE Resource Plan Update Timing
A/S Procurement During High Risk Period
Down Balancing Bids from WGR
Issues assigned to QSEWG
Notes: Wind Generation Workshop – WMS Action Items
The issue of wind operations is truly a hot topic and well attended workshops developed a list of follow up items. Most were assigned to ROS, these were assigned to WMS.
As we learned with the Responsive Reserve Derating, operational “Conservatism” can be very disruptive to the market. Some of the same sort of issues wil come up again. For example the confidence level that we want out of the wind forecast. If it is too conservative, we will always have too much generation on line and market prices will again derail.

## Slide 15: Other WMS activity Wind Generation Workshop – WMS Action Items
Economics in outage considerations
Issue assigned to the CMWG
Notes: Led into a discussion of List would add the discussion of whether to add or include economic criteria in outage considerations – related to the congestion report. Topic has been reviewed before with little progress. Reassigned to the CMWG.

## Slide 16: NOTICE HAS BEEN GIVEN
A Limit on CRR Bid volumes will be required
Delivered by ERCOT (Beth Garza)
Acknowledged by WMS
Timeline developed
Notes: Beth’s choice is simple hard limits.
current system dimension is 200K
Beth to present proposals in May, WMS to vote in June.
WMS accept the challenge to develop a mechanism to limit the number of CRR bids
  Total, Options, or combination – TBD
  Protocol limitation vs. system limits
  Assign to CMWG and/or ERCOT staff to develop recommendation
Beth to present proposals in May, WMS to vote in June.
The very latest finish timeline
WMS recommendation – September 17, 2008
TAC approve – October 2, 2008
Board approve – October 21, 2008

## Slide 17
7.5.2 CRR Auction Offers and Bids
(2) No later than six months prior to the Texas Nodal Market Implementation Date, ERCOT shall report to TAC about whether a limit on bid volume or a nominal transaction charge for each bid submitted would benefit the auction process. Recommendations from TAC must be approved by the ERCOT Board and may be implemented without further revision to these Protocols.

## Slide 18: WMS Report To TAC