## Slide 1: Congestion & TCR Report 2008 January - March
April 2008
Distributed to TAC

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs limits
Congestion Charges vs TCR Payments
Average Shadow Prices
Outages

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | N_H | S_H | N_S | S_N | W_N | N_W | TOTAL
2008 total | 6.7 | -- | 11.6 | -6.9 | 40.4 | 8.8 | 60.5
2007 Q1 | -- | 1.0 | -- | 0.1 | -- | 1.1 | 2.0
2007 total | 39.8 | 12.5 | -- | -1.5 | 5.1 | 4.4 | 60.3
Settlement quality data available through March 2008.

## Slide 4: Number of Intervals Constraints were Binding
 | N_H | S_H | N_S | S_N | W_N | N_W
2008 total | 134 | -- | 428 | 307 | 1867 | 212
2007 Q1 | -- | 58 | -- | 27 | -- | 24
2007 total | 1476 | 452 | -- | 105 | 424 | 254

## Slide 5: Summary of Zonal Congestion Occurrences - Intervals
 | N_H |  | N_S |  | S_N |  | W_N |  | N_W | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 133 | 116 | 118 | 100 | 345 | 299 | 38 | 34
Feb | 0 | 0 | 112 | 109 | 36 | 28 | 587 | 541 | 205 | 170
Mar | 157 | 134 | 265 | 203 | 253 | 179 | 1143 | 1027 | 17 | 8
Apr |  |  |  |  |  |  |  |  |  | 
May |  |  |  |  |  |  |  |  |  | 
Jun |  |  |  |  |  |  |  |  |  | 
Jul |  |  |  |  |  |  |  |  |  | 
Aug |  |  |  |  |  |  |  |  |  | 
Sep |  |  |  |  |  |  |  |  |  | 
Oct |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  | 
2008 total | 157 | 134 | 510 | 428 | 407 | 307 | 2075 | 1867 | 260 | 212
2007 qtr1 | 0 | 0 | -- | -- | 40 | 27 | 26 | 24 | 3 | 0
2007 total | 1937 | 1476 | -- | -- | 142 | 105 | 332 | 254 | 563 | 424

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | N_S |  | S_N |  | W_N |  | N_W | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 10 | 9 | 5 | 5 | 8 | 8 | 9 | 9
Feb | 0 | 0 | 5 | 4 | 3 | 3 | 23 | 23 | 16 | 15
Mar | 6 | 5 | 14 | 12 | 13 | 11 | 29 | 28 | 3 | 2
Apr |  |  |  |  |  |  |  |  |  | 
May |  |  |  |  |  |  |  |  |  | 
Jun |  |  |  |  |  |  |  |  |  | 
Jul |  |  |  |  |  |  |  |  |  | 
Aug |  |  |  |  |  |  |  |  |  | 
Sep |  |  |  |  |  |  |  |  |  | 
Oct |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  | 
2008 total | 6 | 5 | 29 | 25 | 21 | 19 | 60 | 59 | 28 | 26
2007 qtr 1 | 0 | 0 | -- | -- | 4 | 4 | 1 | 0 | 5 | 4
2007 total | 81 | 77 | -- | -- | 10 | 10 | 35 | 34 | 41 | 37

## Slide 7: CSC Limits vs Actual Flows: N_H Mar 2008 (binding intervals)

## Slide 8: CSC Limits vs Actual Flows: N_S & S_N Jan 2008

## Slide 9: CSC Limits vs Actual Flows: N_S & S_N Feb 2008

## Slide 10: CSC Limits vs Actual Flows: N_S & S_N Mar 2008

## Slide 11: CSC Limits vs Actual Flows: W_N & N_W Jan 2008

## Slide 12: CSC Limits vs Actual Flows: W_N & N_W Feb 2008

## Slide 13: CSC Limits vs Actual Flows: W_N & N_W Mar 2008

## Slide 14: Shadow Prices for Unused CSC capacity: N_H Jan – Mar 2008

## Slide 15: Shadow Prices for Unused CSC capacity: N_S Jan – Mar 2008

## Slide 16: Shadow Prices for Unused CSC capacity: S_N Jan – Mar 2008

## Slide 17: Shadow Prices for Unused CSC capacity: W_N Jan – Mar 2008

## Slide 18: Shadow Prices for Unused CSC capacity: N_W Jan – Mar 2008

## Slide 19: Congestion Charges vs. TCR Payments

## Slide 20: Average Shadow Prices: W_N & N_W

## Slide 21: Average Shadow Prices: N_S & S_N

## Slide 22: Congestion vs. TCRs - Jan
 | N_H | N_S | S_N | W_N | N_W | Month total
Congestion Charges | 0 | 2.6 | -2.0 | 7.5 | 0.7 | 8.8
TCR Payout | 0 | 1.7 | 0.6 | 15.7 | 1.8 | 19.9
Est. Shortfall | 0 | 0.9 | 2.6 | 8.2 | 1.1 | 11.1
Stability Issues:
Wind generation exceeded amounts stated in Resource Plans.
65 intervals had stability issues.
Loss of Willow Creek to Parker Switch on 1/27 impacted the stability limit.

## Slide 23: Congestion vs. TCRs - Feb
 | N_H | N_S | S_N | W_N | N_W | Month total
Congestion Charges | 0 | 7.0 | -0.5 | 8.5 | 8.1 | 23.1
TCR Payout | 0 | 4.9 | 0.2 | 27.6 | 28.9 | 61.7
Est. Shortfall | 0 | 2.1 | 0.7 | 19.1 | 20.8 | 38.6
Key outages
Graham to Sweetwater Generating Plant 345kV and Graham to Long Creek Switching Station 345kV 02/11-23; submitted on 1/30/2008
Forced outage at Abilene Mulberry Creek to Long Creek on 2/19
Frequency Events: 20 total
7 events were high frequency with wind accountable for 3 of the events

## Slide 24: Congestion vs. TCRs - Mar
 | N_H | N_S | S_N | W_N | N_W | Month total
Congestion Charges | 6.7 | 2.0 | -4.4 | 24.4 | ~0.01 | 28.7
TCR Payout | 8.0 | 1.3 | 2.5 | 49.1 | 0.05 | 61.0
Est. Shortfall | 1.3 | .7 | 6.9 | 24.7 | 0.04 | 32.3
Key 345kV outages:
Graham to Sweetwater 3/02-09; submitted on 2/21
Long Creek to Abilene Mulberry Creek 2/26-3/01; submitted on 2/21
3/02-04; submitted on 2/21
Morgan to Bitter Creek 3/15-18; submitted on 3/11
Morgan to Sweetwater 3/19-29; submitted on 3/11
Stability Issues: 2 days
Frequency Events: 32 total
19 high frequency events with wind accountable for 10 events due to sharp increases in wind generation

## Slide 25: Wind Generation 2007 vs. 2008

## Slide 26: Monthly TCR Auction timeline
Transmission outages need to be submitted at least
45 days ahead of time to be included in ERCOT’s monthly TCR analysis

## Slide 27: background
Following slides have additional detail.

## Slide 28: Average Shadow Price
 | N_H | N_S | S_N | W_N | N_W
Jan | 0 | $85.30 | $162.04 | $259.76 | $291.89
Intervals @ $2500 | 0 | 1 | 4 | 5 | 0
Feb | 0 | $302.78 | $209.17 | $245.58 | $771.99
Intervals @ $2500 | 0 | 9 | 2 | 6 | 30
Mar | $478.72 | $58.93 | $335.11 | $237.05 | $75.13
Intervals @ $5600 | 6 | 0 | 5 | 2 | 0

## Slide 29: TCR Revenues
 | N_H | N_S | S_N | W_N | N_W | YTD
Annual | $9.7 | $6.8 | $0.6 | $17.1 | $2.9 | $37.1
PCRs | $0.14 | $1.40 | $0.17 | $0.70 | $0.08 | $2.5
Jan | $0.42 | $0.65 | -- | $1.35 | $0.47 | $2.9
Feb | $0.36 | $0.68 | ~0 | $2.99 | $0.76 | $4.8
Mar | -- | -- | $0.02 | $5.70 | $0.20 | $5.9
total | $10.6 | $9.5 | $0.8 | $27.9 | $4.4 | $53.3
In million$

## Slide 30: TCRs Sold
 | N_H | N_S | S_N | W_N | N_W
Annual | 460.716 | 187.340 | 53.085 | 278.739 | 221.091
PCRs | 43.099 | 257.566 | 104.001 | 76.337 | 40.129
Jan | 699.283 | 250.226 | 0.000 | 453.466 | 482.612
Feb | 687.579 | 156.535 | 0.921 | 476.199 | 619.451
Mar | 0.000 | 0.000 | 10.110 | 451.727 | 59.777
In MWs