ERCOT Draft

Methodology for Calculating Wind Generation levels in the SSWG Cases

Goal – Use the available prior year’s real operating data from the wind farms to set the dispatch in the new SSWG base cases.

Limitations

- The wind farm owners feel very protective of their actual performance, so we can not use exact numbers for individual plants.

- We only have operating data on plants that are already in service.

- The operating data conceals constrained output due to transmission outages for construction.

Engineering Judgment Calls

The following steps could be done differently:

- How should the plants be grouped, which avoids revealing protected information?

- What should be done with new or future plants with no data?

Process

- Develop list of PI tags for all existing wind farms.

- Retrieve MW output for the following time frames:

  - May		3-5AM		4-6PM

  - August		3-6AM		4-6PM

  - September	3-6AM		4-6PM

  - December	3-6AM		6-8PM

  - January	3-6AM		7-8AM

- Calculate the average capacity factor of each plant for each time frame.  For the winter numbers, combine the data for December of one calendar year and January of the next calendar year (same winter).  Winter peak typically occurs either immediately after the minimum in January, or early evening in December.

- Group the wind farms by geography. For 2008 we used the groups in the table below. We could group by CREZ, county, or by any other criterion that is agreed upon by a stakeholder group.

- Assign any future plants that are not near the current geography groups to a default group.

- The default group is determined by taking the minimum of all identified areas with historical data.

- Calculate the average capacity factor of each group for each time frame.  Round off to the closest 5%.

- For coastal wind farms that have no operation data, the AWS truewind models using the similar time frame in point number 2 are used to determine the capacity factor. This is done because of the significant difference in the coastal wind patterns compared to the ones in the West.

- These numbers are offered to SSWG to use or modify according to their judgment.

The 2008 data is below.

| Area | code | spg1 | spg2 | sum1 | sum2 | fal1 | fal2 | win1 | win2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Trent | a | 15 | 20 | 20 | 35 | 15 | 30 | 35 | 45 |
| Big Spring | b | 20 | 25 | 20 | 40 | 15 | 30 | 35 | 45 |
| SW Abilene | c | 20 | 25 | 20 | 35 | 15 | 30 | 35 | 40 |
| Mesquite and default | d | 15 | 15 | 10 | 5 | 10 | 10 | 25 | 25 |
| McCamey | e | 25 | 35 | 25 | 40 | 20 | 35 | 25 | 30 |
| Kunitz and Delaware | f | 20 | 15 | 10 | 5 | 10 | 10 | 25 | 25 |
| Caprock | g | 20 | 30 | 20 | 50 | 15 | 45 | 35 | 45 |
| Gulfwind | h | 41 | 40 | 43 | 27 | 20 | 31 | 28 | 30 |