| OGRR Number | 208 | OGRR Title | Voltage Ride-Through (VRT) Requirement |
| --- | --- | --- | --- |

| Date | May 20, 2008 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Jonte on behalf of the Operating Guides Revision Task Force (OGRTF) |
| E-mail Address | John.jonte@CenterPointEnergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2252 |
| Cell Number |  |
| Market Segment | IOU |

Comments

At its 5/20/08, the OGRTF considered OGRR208.  OGRTF recommends the Operations Working Group (OWG) defer action on OGRR208 until OGRTF can further review the issues surrounding OGRR208.  The issues requiring resolution include:

- Site specific issue in Section 3.1.4.6, Protective Relaying Requirement – requirement for site specific clearing time vs. a standard clearing time independent of location

- Figure 1: Voltage Ride-Through Boundaries For Generating Units, in Section 3.1.4.6  – the time required to ride through a voltage dip (1.75 seconds vs. 3.0 seconds below 0.9 per unit voltage)

OGRTF requests that representatives from AEP, Oncor, ERCOT Staff, SPWG, and the Wind Coalition be present at the June 17th OGRTF meeting to discuss the above issues.

Revised Proposed Guide Language

None.