## Slide 1: QSE Managers Working Group
12 May, 2008
Meeting Notes
Report to WMS
21 May, 2008

## Slide 2: 12 May, 2008 Meeting Agenda
LSL as % of HSL Performance Measure
WGR Ramp Rate Limitations
Wind QSE Resource Plan Update Timing
50/50 forecast vs. 80/20 forecast
A/S Procurement During High Risk Periods
Down Balancing Bids from WGR QSEs
DBES from Actual Output or Schedules?

## Slide 3: LSL as % of HSL Performance Measure
Concern: ERCOT running low on DBES bids in the West Zone, Wind QSEs entering LSL=HSL. ERCOT will resort to OOME in this scenario. QSEs citing exemption for Renewables in Metrics. (Protocol 4.10.4)
Next Step: ERCOT will present protocol interpretation at the next meeting of the QMWG.

## Slide 4: WGR Ramp Rate Limitations
Concern: Ramp Rate limitations when released from curtailments could cause frequency control problems.
Next Step: WMS ask ROS to provide a response which includes more defined problem with examples and detail of existing tools available to manage concern. QMWG to review after ROS evaluates.

## Slide 5: Wind QSE Resource Plan Update Timing
Concern: Not all Wind QSEs update the Resource Plan alike, some with unrealistic values.
Next Step: ERCOT submitted PRR 763 requiring update of Resource Plans before RPRS studies using ERCOT provided forecasts. QMWG to work with ERCOT on Market Bulletin clarifying Resource Plan submittal expectations.

## Slide 6: 50/50 forecast vs. 80/20 forecast
Concern: Should the 50% or the 80% Wind forecast be used? Using 80% could bias to an over commitment.
Next Step: Issue is at TPTF for Nodal, should not be considered for Zonal unless significant nodal schedule or forecasting statistics change.

## Slide 7: A/S Procurement During High Risk Periods
Concern: Should Ancillary Service procurement change to help manage high risk periods?
Next Step: ERCOT currently evaluating Ancillary Service Methodology for 2009. QMWG asked ERCOT to do three things:
  Bring the methodology early
  Consider if Non-Spin should be largest unit or largest ramp possibility
  Consider how to handle net load uncertainty; e.g. wind decrease with load increase.

## Slide 8: Down Balancing Bids from WGR QSEs
Concern: Not all Wind QSEs are offering DBES
Next Step: Combined with LSL as a %HSL issue, see issue #1.

## Slide 9: DBES from Actual Output or Schedules?
Concern: Wind QSEs respond differently to DBES instructions. Some respond from current output, some from Energy Schedule.
Next Step: ERCOT to bring detailed example on how they expect QSEs to respond.

## Slide 10: Recap
LSL as % of HSL Performance Measure
  ERCOT to bring back to QMWG
WGR Ramp Rate Limitations
  WMS to ask for ROS response, QMWG on hold
Wind QSE Resource Plan Update Timing
  QMWG to work with ERCOT to develop Bulletin
50/50 forecast vs. 80/20 forecast
  Withdrawn, unless significant changes
A/S Procurement During High Risk Periods
  Recommendations provided to ERCOT
Down Balancing Bids from WGR QSEs
  Consolidated with Item #1 – LSL % of HSL
DBES from Actual Output or Schedules?
  To be discussed further at next QMWG

## Slide 11: QMWG – Future Agenda Items
DBES from Actual Output or Schedules
  Discussion with ERCOT Examples
LSL as % of HSL Performance Measure
  ERCOT Protocol Interpretation
WGR Ramp Rate Limitations
  When ROS makes recommendation
Wind QSE Resource Plan Update Timing
  Review of PRR, Market Bulletin
Next Meeting: 30 May, 2008.