ROS Report for June 2008 TAC Meeting

The ROS met May 15, 2008.  The next ROS meeting is scheduled for June 12, 2008.  Highlights from May meeting and follow-up items are as follows:

- Voting items for June 2008 TAC meeting (approved at ROS at its May meeting)

  - None

- Other Highlights

  - EECP 20080226 Event and Wind Workshop Items

    - Endorsed the language for a draft PRR for “Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs” developed by the ERCOT ISO.

    - Discussed the “questions” identified by the Wind Operations Task Force (WOTF), directing the WOTF to further develop and document the criteria for the timing requirements under the “24/7 Communication” item (communications between ERCOT and Wind Farms).

    - OWG

      - The OWG will draft an OGRR for making the public appeal for conservation in EECP Step 2 optional, instead of required.

    - PDCWG

      - Discussed identifying the system biases needed at different levels of wind penetration.

  - Directed the OWG to revisit the reliability issues associated with Black Start Task Force’s past recommendation to perform a dynamic study of the ERCOT black start plan and report back to ROS in July.

  - Discussed the special protection systems (SPS) events in the ERCOT Operations Report and the reporting burden created by the large number of ‘arming’ events (over one hundred in April).

  - The ERCOT ISO presented results of unannounced generation unit testing.

  - Mark Henry of the Texas RE introduced Victor Berry, the Texas RE Director of Compliance.