## TPTF Comments & Responses
Responses to Comments on Document: |  |  |  |  | Market Operations Test Environment (MOTE) CSD (B2) v0.02
S.No. | Issuing Entity (Name) | Page Number | Section | No., Pg, Req. | Description | Response Type | Reviewer | Reason / Comment
1 | LCRA (N. Richard) | 18 | 3.9.4 | 1 18 3.9.4 LCRA (N. Richard) | 1. Save Case Manager: has this been written and if so, where can we find the design specification? | Clarification Provided* | W. Sweetman | This refers to the AREVA EMS Savecase Manager. Section 3.9.4 has been updated to reflect this.
2 | LCRA (N. Richard) | 11,12 | 2.2.3 | 2 11,12 2.2.3 LCRA (N. Richard) | 2. Who is the vendor on the Data Validation Engine? | Clarification Provided* | W. Sweetman | The Data Validation Engine is part of the ABB MMS product. Section 2.2.3 has been updated to reflect this.
3 | LCRA (N. Richard) | 17 | 3.8 | 3 17 3.8 LCRA (N. Richard) | 3. Today we struggle with differences between the Sandbox and the EDS environments. There are many references to work being done in the "Sandbox". How will you ensure equality between the two areas? | Clarification Provided* | W. Sweetman | MOTE is being developed independent of EDS. EDS is planned to be converted to the Production System. One of the capabilities that MOTE provides is Market Participant data validation using the rules engine in the post go-live environment. After go-live, the Production and MOTE software will be identical, with the exception of configuration changes required by MOTE (e.g. turn off SCED, RUC, DAM; reconfigure IP addresses) After go-live business processes will be implemented in accordance with section 3.8 to keep MOTE data in line with Production
4 | LCRA (N. Richard) | 7,11 | 1.1, 2.2.1 | 4 7,11 1.1, 2.2.1 LCRA (N. Richard) | 4. We have not seen this verification on previously published time lines. What EDS Group does this entire verification fall under? Have TSP's been involved in the verification of the State Estimator for example? When are TSP's expected to perform such verification? | Clarification Provided* | W. Sweetman | MOTE is providing a view of the post-production data and is not involved in the data validations provided by NMMS according to any specific time line. The ability for TSPs to review/verify SE results in near real time is presently supported in Zonal and will be carried forward to Nodal MOTE. This capability is meant to support TSP business processes at their discretion and is not an ERCOT activity.
5 | LCRA (N. Richard) | 9 | 2.2.1 | 5 9 2.2.1 LCRA (N. Richard) | 5. Are power flows currently being downloaded and studied by TSP's? | Clarification Provided* | W. Sweetman | There is no capability for TSPs to download ERCOT Power Flows. However, there is the ability for TSPs to access the MOTE EMS via Citrix and execute Power Flow on the MOTE EMS system. The Power Flow execution capability is not intended for pre-production validation. It is provided as a post-production study tool only. This functionality is currently supported on the Zonal system and is being carried forward to Nodal.
6 | LCRA (N. Richard) |  |  | 6 LCRA (N. Richard) | 6. Will the "EDS" environment as we know it and being tested with, become the Nodal MOTE? | Clarification Provided | W. Sweetman | No. The EDS environments will be promoted to Production at go-live.

## Data Entry Lists
Response | Description
Accepted | Comment accepted and requirements document updated as per the comment.
Clarification Provided* | Clarification provided and requirements document updated to clarify
Clarification Provided | Clarification provided and no updates made to the requirements document.
Pending | Issue is not resolved yet. All pending issues will be dispositioned to a punch list and resolved later. These issues need more time and coordination across multiple Nodal projects.
Rejected | Comment rejected as it does not comply with Nodal Protocols.

## Punch List
Document Name:
Punch List # | Punch List Description | Related TPTF Comment