## Slide 1: Technical Advisory Committee
Report to the
ERCOT Board of Directors
May 20, 2008

## Slide 2: TAC Summary
1 NPRR for Approval
1 PRR for Approval
1 LPGRR for Approval
Unfunded Projects List Update
Update on responses to February EECP Step 2 Event

## Slide 3: NPRR108– Fuel Oil Price (FOP) Clarification
Purpose (ERCOT) | Clarifies that the 5¢ adder is charged by the gallon; removes language referencing the FOP for days when Platts Oilgram Price Report is not published | 
Benefit | Accurate definition for the meaning and use of the term | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
TAC Vote | TAC recommended approval unanimously; all Market Segments were present | 
Effective Date | Upon Texas Nodal implementation; no impact to nodal budget or implementation | 

## Slide 4: Recap of TAC/Board Action on Distributed Renewable Generation Metering & Settlements
H.B. 3693 passed by the 2007 Texas Legislature:
  “[I]t is the intent of the legislature that net metering and advanced meter information networks be deployed as rapidly as possible to allow customers to better manage energy use and control costs, and to facilitate demand response initiatives.”
H.B. 3693 imposes obligations on ERCOT for the settlement of distributed renewable generation:
  “[ERCOT]…shall develop procedures so that the amount of electricity purchased from a distributed renewable generation owner under this section is accounted for in settling the total load served by the provider that serves that owner’s load by January 1, 2009. A distributed renewable generation owner requesting net metering services for purposes of this section must have metering devices capable of providing measurements consistent with [ERCOT’s] settlement requirements.”
  A similar provision also applies to net metering of distributed renewable generation by a school district.

## Slide 5: Recommendation on Net Metering Policy for Distributed Renewable Generation (con’t)
TAC established the Distributed Generation Task Force to address market design and commercial issues related to H.B. 3693.
  Whitepaper presented to TAC at January meeting.
  Referred the issue of developing a “solar load profile” to the Profiling Work Group.
TAC briefed the Board that key design decisions are contingent on the interpretation of the Legislature’s intent with respect to the meaning of the term “net metering.”
TAC requested that the Board forward to the PUC a request to make a threshold interpretation of the meaning of the term “net metering” as used in H.B. 3693.

## Slide 6: PUC Rule on Net Metering
PUC Substantive Rule 25.213, Metering for Renewable Distributed Generation, adopted April 24th.
  Resolves the question on net metering:
    Requires two separate meters for in-flows and out-flows.
      Metered data accounted for separately.
      IDR meters for systems greater than 50 kW.
    TDSP shall charge for deliveries to the customer’s premise.
  Directs ERCOT by January 1 to establish settlement processes for electricity consumption and out-flows that “reflects the time of generation.”

## Slide 7: Load Profiles for Renewable Distributed Generation
Definition—Load Profile: A representation of the energy usage of a group of Customers, showing the demand variation on an hourly or sub-hourly basis.
  Fills in the time-of-day and day-of-month gaps in a monthly meter read.
  Determines allocation of supply costs among REPs.
DG customers will have a significantly different load profile from typical customers.
IDR metering can eliminate the need for use of load profiles.

## Slide 8: Policy Value of Adopting Renewable DG Load Profiles
Fulfill PUC requirements.
Create a benefit for REPs in serving DG customers.
  H.B. 3693 is fuzzy in specifying how DG customers are compensated for their exports.
  Desirable to have REPs actively competing for DG customers.
Advanced Metering Technology may eliminate the need for load profiles.

## Slide 9: PRR756 – Distributed Renewable Generation Modification -- URGENT
Purpose (Direct Energy for Profiling WG) | Allows the Load Profiling & Data Aggregation methodology to better represent the output of DRG Resources with a capacity less than 50 kW | 
Benefit | Complies with HB 3693; allows for settlement of DRG Resources with a capacity less than 50 kW | 
Market Impact | Minimal until the population of DRG Resources becomes significant | 
System Change | Yes | Net C/B $(1.3) MM; grouped with existing system project; Critical/Priority 2
Assumptions | Complies with HB 3693; better represents DRG Resources <50 kW; supports settlement infrastructure for distributed renewable energy | 
TAC Vote | TAC recommended approval unanimously; all Market Segments were present | 
Effective Date | January 1, 2009 | 

## Slide 10: PRR756 – Distributed Renewable Generation Modification -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$500K to $1 MM; grouped into existing
Project 80028;
Lodestar/Paperfree
DRG Resources <50 kW settled with load
profiles

## Slide 11: LPGRR030 Distributed Renewable Generation Modifications
Companion to PRR756, required to update the Load Profiling Guide.
Implements 128 new Load Profiles Types in combination with the 8 existing weather zones for DRG resources less than 50 kW.
Three months to develop new profiles; requires changes to the Lodestar system.
Total cost $50,000—included in the costs of PRR756.
  Priority 1 (critical), rank 2.
Market notice to be issued in August 2008.
Approved unanimously by TAC.

## Slide 12: Unfunded Project List Report
TAC reports there are no unfunded projects at this time
  Protocol Section 21.9 requires quarterly reporting to the ERCOT Board regarding projects on the “Unfunded Project List”
  Unfunded Projects will be listed on a separate Project Priority List tab

## Slide 13: Preliminary Inputs to Stakeholder Responses to February EECP
March 11th PDCWG report to ROS—Initial stakeholder assessment:
  Identified contributing factors.
  Initial summary of areas for follow up activity—Short-term Load Forecast and updating Resource Plans.
March 17th Wind Workshop:
  Well attended, productive working meeting.
  Brainstorming event—lengthy list of issues for further investigation.
  Issues forwarded to ROS and WMS.
Input received by ROS from TRE:
  Assessment of contributing factors.
  Set of issues gathered from stakeholders.

## Slide 14: Framework for Assessing Wind Integration
Big Picture: ERCOT is on the cutting edge.
  Need to develop a better understanding of system requirements associated with greater wind penetration and technological capabilities and limitations of the wind technology.
Near-term Efforts: Incorporate improved wind forecasting.
  ERCOT using AWSTrueWind forecast as a sanity check.
  AWSTrueWind forecast incorporated in zonal systems.
Areas of On-going investigation:
  Interconnection—do we have the right interconnection standards in place?
  Performance Measures—are wind-specific performance measures needed?
  Ancillary Services—do we have the right kind and quantity of AS in place?
  Training—do we need additional wind operations-specific training?
  Grid Maintenance—can we more effectively manage congestion by changing processes related to transmission maintenance outages.

## Slide 15: ROS Action Plan for February EECP Event
Ground Rules:
  Develop Zonal PRRs consistent with the remaining Zonal timeline.
  Identify NPRRs that can be adopted without threatening Nodal Implementation schedule or budget.
  Identify policies and procedures related to wind forecasting and wind capacity management that can be implemented immediately by ERCOT Operations.
Created the Wind Operations Task Force.
  Co-led by ERCOT (John Dumas) and stakeholder (Mark Garrett).

## Slide 16: ROS Action Plan
Interconnection Process:
  Better define voltage control requirements.
  Stakeholders are undertaking a survey to document capabilities and technologies in use at each wind farm to provide reactive power/voltage support.
  Better define SCADA control on generation breakers.
  Assess TSP and Wind Farm voltage management practices.
  Assess system inertia requirements for securely integrating large quantities of wind resources.
Compliance/Performance measures for wind farms:
  Develop 24/7 communications between wind farms and TSPs/ERCOT.

## Slide 17: ROS Action Plan (con’t)
Potential modifications to Protocols and Guides:
  Wind generation ramp rate limitation—ERCOT to investigate best practices in other regions.
  Mandate use of AWSTrueWind forecast in wind Resource Plans—PRR 763 submitted by ERCOT Staff on behalf of the ROS.
    ERCOT is already using the AWSTrueWind forecasts in its near-term assessment of capacity and reserves sufficiency.
  Develop an AS procurement methodology for high risk periods, i.e., raise procurement of RGS, RRS, and NSRS.
  Re-examine EECP steps regarding ERCOT’s obligation to issue a public appeal for conservation.
Training—develop a training program for wind farm personnel on operations, controls, and best practices (similar to annual operations training).