Date: 	May 29, 2008

To:	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:	Consideration of Protocol Revision Requests and Nodal Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs) to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR757, Emergency Interruptible Load Service Formula Correction [ERCOT].  Proposed effective date: August 1, 2008.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR corrects equations and variable subscripts in Section 6.8.6, Capacity Payments for Emergency Interruptible Load Service (EILS), and in Section 6.9.4.4, Settlement Obligation for Emergency Interruptible Load Service, to delete the undefined term “EILS Business Hours.”.  PRR757 and its Impact Analysis were posted on 3/7/08.  On 4/18/08, PRS unanimously voted to recommend approval of PRR757 as revised by PRS.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report as amended by ERCOT comments and Impact Analysis to TAC for approval.

- PRR759, Changes to Notification to Customer of Service Establishment [ERCOT].  Proposed effective date: August 1, 2008.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR aligns Protocol Section 15.1.4.3, Notification to Customer of Service Establishment, with paragraph (l)(1) of P.U.C. Subst. R. 25.474, Selection of Retail Electric Provider.  This PRR will eliminate the move-in Customer notification.  PRR759 and its Impact Analysis were posted on 3/19/08.  On 4/18/08, PRS unanimously voted to recommend approval of PRR759 as submitted.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- PRR760, Emergency Interruptible Load Service (EILS) Availability Factor Clarification [ERCOT].  Proposed effective date:  August 1, 2008.   No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR clarifies a settlement and compliance provision relating to availability requirements for EILS Resources assigned to the alternate baseline.  PRR760 and its Impact Analysis were posted on 3/24/08.  On 4/18/08, PRS unanimously voted to recommend approval of PRR760 as submitted.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- PRR762, West Zone SCE Performance Conditions - URGENT [AEP].  Proposed effective date:  July 1, 2008.  Impact Analysis pending.  This PRR revises Section 6.10.6, Ancillary Service Deployment Performance Conditions, to exclude from consideration of performance periods where Qualified Scheduling Entities (QSEs) operating controllable Resources in the West zone are called upon to deploy and recall Balancing Energy Service in response to high wind production and Congestion in the area.  PRR762 was posted on 4/21/08.  On 5/22/08, PRS voted to recommend approval of PRR762 as revised by PRS.  There was one opposing vote from the Consumer Market Segment and four abstentions from the Municipally Owned Utility (MOU)(1); Independent Power Marketer (IPM)(1); Independent Retail Electric Provider (IREP)(1); and Investor Owned Utility (IOU)(1).  On 5/22/08, PRS also voted to grant PRR762 Urgent status.  There were three opposing votes from the Consumer (1); MOU (2) and four abstentions MOU (1); IPM (1); IREP (2).  Credit review is pending.

- PRR763, Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs – URGENT [ROS].  Proposed effective date:  July 1, 2008.  Impact Analysis Pending.  This PRR allows Qualified Scheduling Entities (QSEs) representing Wind-powered Generation Resources (WGR) to use an ERCOT-provided Wind-powered Generation Resource Power Potential (WGRPP) forecast as the planned operating level in the Resource Plan.  PRR763 was posted on 5/16/08.  On 5/21/08, PRS granted PRR763 Urgent status via email vote.  On 5/22/08, PRS unanimously voted to recommend approval of PRR763 as revised by PRS.  Credit review pending.

NPRRs Recommended for Approval

- NPRR105, Section 23, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date: upon implementation of the Texas nodal market.  No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.   This NPRR synchronizes zonal Protocol Section 23, Texas Test Plan Team – Retail Market Testing, with the current Nodal Protocols.  NPRR105 was posted on 2/26/08.  On 3/20/08, PRS unanimously voted to refer NPRR105 to the Transition Plan Taskforce (TPTF) for consideration.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR105 as amended by TPTF comments and as revised by PRS with instruction to ERCOT Staff that “section specific” definitions and acronyms be inserted into Section 2, Definitions and Acronyms, through a separate NPRR.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report as amended by ERCOT comments and Impact Analysis to TAC for approval.

- NPRR106, Section 24, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date: upon implementation of the Texas nodal market.  No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated. This NPRR synchronizes zonal Protocol Section 24, Retail Point to Point Communications, with the current nodal Protocols.  NPRR106 was posted on 2/26/08.  On 3/20/08, PRS unanimously voted to refer NPRR106 to TPTF for consideration.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR106 as amended by TPTF comments and as revised by PRS with instruction to ERCOT Staff that “section specific” definitions and acronyms be inserted into Section 2, Definitions and Acronyms, through a separate NPRR.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report as amended by ERCOT comments and Impact Analysis to TAC for approval.

- NPRR109, Section 18, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date: upon implementation of the Texas nodal market.  No incremental cost to ERCOT is anticipated; Staff impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated. This NPRR synchronizes zonal Protocol Section 18, Load Profiling, with the current nodal Protocols.  NPRR109 was posted on 3/3/08.  On 3/20/08, PRS unanimously voted to refer NPRR109 to TPTF for consideration.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR109 as amended by TPTF comments and ERCOT comments and as revised by PRS with instruction to ERCOT Staff that “section specific” definitions and acronyms be inserted into Section 2, Definitions and Acronyms, through a separate NPRR.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report as amended by ERCOT comments and Impact Analysis to TAC for approval.

- NPRR110, Section 20, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date: upon implementation of the Texas nodal market.  No incremental cost to ERCOT is anticipated; Staff impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated. This NPRR synchronizes zonal Protocol Section 20, Alternative Dispute Resolution Procedure, with the current nodal Protocols.  NPRR110 was posted on 3/3/08.  On 3/20/08, PRS unanimously voted to refer NPRR110 to TPTF for consideration.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR110 as amended by TPTF comments and COPS comments and as revised by PRS to strike Section specific definitions, with instruction to ERCOT Staff to place these definitions in Section 2 through a separate NPRR.  On 5/22/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report as amended by ERCOT comments and Impact Analysis to TAC for approval.

Revision Requests Rejected

None.

Revision Requests Withdrawn (no TAC action required)

- NPRR115, Grey-Boxing of Settlement and Billing Related Information Calculation [ERCOT].  This NPRR would have grey-boxed the variable, DAOPTPRINFO(j, k) (Day-Ahead Option Informational Price per pair of source and sink), in Section 7.9.1.2, Payments for PTP Options Settled in DAM, and the variable, RTOPTPRINFO(j, k)  (Real-Time Option Price per pair of source and sink), in Section 7.9.2.2., Payments for PTP Options Settled in Real-Time.  NPRR115 was posted on 3/17/08.  On 4/29/08, NPRR115 was withdrawn.

- NPRR121, System Parameters Posting Frequency [ERCOT].  This NPRR would have revised the Market Information System (MIS) posting frequency from ten seconds to three minutes.  NPRR121 was posted on 3/31/08.  On 4/18/08, PRS unanimously voted to refer NPRR121 to TPTF.  On 4/22/08, NPRR121 was withdrawn.

Status of Pending PRRs (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the June 19, 2008 PRS Meeting

- PRR761, Inadvertent Energy Account Revision [ERCOT].  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations. This PRR corrects the definition for an Inadvertent Energy Account.  PRR761 was posted on 4/16/08.  On 5/22/08, PRS unanimously voted to recommend approval of PRR761 as submitted.  Credit review is pending.

- NPRR107, Nodal Emergency Interruptible Load Service (EILS) [ERCOT].  Impact Analysis pending. This NPRR documents that, in the Nodal Market, EILS is deployed during an Emergency Electric Curtailment Plan (EECP), after all available Generation Resources and Loads acting as Resources (LaaRs) have been deployed.  NPRR107 was posted on 2/29/08.  On 3/20/08, PRS unanimously voted to refer NPRR107 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR107 as amended by TPTF comments.  Credit review is pending.

- NPRR111, Timelines for Response by ERCOT to TSP Requests [ERCOT].  Impact Analysis pending.   This NPRR revises the table in item (1) of Section 3.1.5.3, Timelines for Response by ERCOT for TSP Requests to: (1) make the timeline internally consistent and (2) increase the “approval window” for the 45-day timeline.  NPRR111 was posted on 3/4/08.  On 3/20/08, PRS unanimously voted to refer NPRR111 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR111 as submitted.  Credit review is pending.

- NPRR117, Resource Registration Clarification [ERCOT]. Impact Analysis pending. This NPRR clarifies the obligations of a Resource Entity to register Resource data with ERCOT and the obligations of a Qualified Scheduling Entity (QSE) to submit Resource Parameters for operational purposes to ERCOT.  This NPRR also deletes a QSE’s obligation to submit Private Use Network design and engineering data and places the obligation on a Generation Entity with a Generation Resource located within a Private Use Network.  NPRR117 was posted on 3/26/08.  On 4/18/08, PRS unanimously voted to refer NPRR117 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR117 as amended by TPTF comments.  Credit review is pending.

- NPRR118, Section 14, Synchronization of Zonal Protocols [ERCOT]. Impact Analysis pending. This NPRR synchronizes zonal Protocol Section 14, State of Texas Renewable Energy Credit Trading Program, with the current Nodal Protocols.  NPRR118 was posted on 3/27/08.  On 4/18/08, PRS unanimously voted to refer NPRR118 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR118 as amended by ERCOT comments.  Credit review is pending.

- NPRR119, Resource Limit Calculator [ERCOT]. Impact Analysis pending. This NPRR changes the Low Dispatch Limit (LDL) calculation to ensure that the LDL and High Dispatch Limit (HDL) limit sent to the Security Constrained Economic Dispatch (SCED) software do not exceed the High Sustained Limit (HSL) under any circumstance.  NPRR119 was posted on 3/27/08.  On 4/18/08, PRS unanimously voted to refer NPRR119 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR119 as submitted. Credit review is pending.

- NPRR120, Corrections and Clarifications for Real Time Settlements [ERCOT]. Impact Analysis pending. This NPRR makes corrections and clarifications to existing formulas for Real-Time Settlement.  NPRR120 was posted on 3/27/08.  On 4/18/08, PRS unanimously voted to refer NPRR120 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR120 as submitted.  Credit review is pending.

- NPRR122, Simplify Ancillary Services Settlement Formulas [ERCOT]. Impact Analysis pending.  This NPRR replaces the Ancillary Service trades and self-supply in the Settlement formulas and replaces them with the self-arranged quantities.  This NPRR also, proposes editorial changes to variables and subscripts and adds clarifying language.  NPRR122 was posted on 4/7/08.  On 4/18/08, PRS unanimously voted to refer NPRR122 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR122 as submitted.  Credit review is pending.

- NPRR123, Inadvertent Energy Account Revision [ERCOT]. Impact Analysis pending.  This PRR corrects the definition for an Inadvertent Energy Account.  NPRR123 was posted on 4/9/08.  On 4/18/08, PRS unanimously voted to refer NPRR123 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR123 as submitted.    Credit review is pending.

- NPRR130, CRR Settlements Revenue Equalization [TPTF].  Impact Analysis pending.  This NPRR adds an accounting provision to assure revenue neutrality in the DAM financial activity while refunding the proper funds later through the CRR Balancing Account.  NPRR130 was posted on 5/9/08.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR130 as submitted.

Revision Requests Deferred or Tabled

- PRR754, Resource Settlement Due To Forced Transmission Outage [FPL Energy].  Impact Analysis is pending.  This PRR clarifies that QSEs scheduling Generation Resources will receive Out of Merit Energy (OOME) Down to zero (0) Verbal Dispatch Instructions (VDIs) when a Transmission Facility Forced Outage trips a Generation Resource Off-line. PRR754 was posted on 2/4/08.  On 3/20/08, PRS voted to refer PRR754 to WMS.  There was one abstention from the Consumer Market Segment.  On 5/22/08, PRS unanimously voted to table PRR754 until the June 19th PRS meeting.  Credit review is pending.

- NPRR091, Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days [TPTF].  Proposed effective date:  July 1, 2008.   Impact Analysis is pending.  This NPRR adds: (1) a provision in Section 3.19, Constraint Competitiveness Tests, to treat transmission constraints as non-competitive constraints during an initial 30 Operating Day period beginning with the Texas Nodal Market Implementation Date; and (2) a new Subsection 4.4.11.2, Scarcity Pricing and Mitigated Offer Cap During Nodal Startup, to require that the System-Wide Offer Cap (SWCAP) be set to the higher of $180 per MWh or 18 mmBtu Heat Rate times the Fuel Index Price (FIP), with a -$50 floor, during an initial 45 Operating Day period beginning with the Texas Nodal Market Implementation Date.  NPRR091 was posted on 12/5/07.  On 12/13/07, PRS unanimously voted to table NPRR091.  On 1/17/08, PRS again voted to table NPRR091 until the 2/21/08 PRS meeting.  The motion passed with one abstention from the Independent Retail Electric Provider (IREP) Market Segment.  On 2/21/08, PRS voted to recommend approval of NPRR091 as revised by PRS.  The motion passed with four opposing votes (Consumers) and three abstentions (Electric Cooperative (Cooperative), IOU, and IPM).  On 3/20/08, PRS unanimously voted to table NPRR091 pending development of the final Impact Analysis.  On 5/22/08, PRS unanimously voted to table NPRR091 until the June 19th PRS meeting pending the development of the final Impact Analysis.  The Credit WG has reviewed NPRR091 for credit implications and concluded that this NPRR would effectively reduce price exposure which should have positive credit implications.

- NPRR097, Changes to Section 8 to Incorporate Role of TRE, the IMM, and the Concept of Market Compliance [TPTF].  Proposed effective date:  July 1, 2008.  No incremental cost to ERCOT is anticipated; may be potential staffing impacts – unable to determine until requirements of TAC-approved monitoring program are included in the Nodal Operating Guides; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.   This NPRR incorporates relevant concepts from the TAC-approved Energy Management System (EMS) and Market Management System (MMS) Business Requirements and Conceptual Design Documentation to bring Section 8, Performance Monitoring and Compliance, language addressing Ancillary Service qualification testing and performance monitoring into conformance with the current nodal market Ancillary Service deployment design.  NPRR097 was posted on 1/8/08.  On 2/21/08, PRS unanimously voted to remand NPRR097 to TPTF.  On 3/20/08, PRS unanimously voted to table NPRR097.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR097 as amended by the 040108 ERCOT Comments.  On 5/22/08, PRS unanimously voted to table NPRR097 until the June 19th PRS meeting.

- NPRR102, Implementation of PUC SUBST. R. 25.505(f), Publication of Resource and Load Information [TPTF].  Proposed effective date:  July 1, 2008.  Impact Analysis is pending.  This NPRR incorporates the disclosure requirements pursuant to paragraph (f) of P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region.  NPRR102 was posted on 2/12/08.  On 2/21/08, PRS unanimously voted to recommend approval of NPRR102 as revised by ERCOT comments.  On 3/20/08, PRS unanimously voted to table NPRR102 pending the development of the final Impact Analysis.  On 5/22/08, PRS unanimously voted to table NPRR097 until the June 19th PRS meeting pending the development of the final Impact Analysis.

- NPRR113, Load Resource Type Indicator for Ancillary Service (AS) Trades and Self-Arranged AS [ERCOT].  Proposed effective date:  July 1, 2008.  Impact Analysis pending.   This NPRR adds an indicator to Self-Arranged Ancillary Services (AS) and AS Trades to reflect if Responsive Reserve Services (RRS) are being provided from a Generation Resource, Controllable Load Resource, or non-controllable Load Resource.  NPRR113 was posted on 3/11/08.  On 3/20/08, PRS unanimously voted to refer NPRR113 to TPTF for review.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR113 as revised by TPTF comments.  On 5/22/08, PRS unanimously voted to table NPRR097 until the June 19th PRS meeting pending the development of the final Impact Analysis.

Revision Requests Pending Input from Another Subcommittee/Task Force

- NPRR114, Section 11, Synchronization of Zonal Protocols [ERCOT].  Impact Analysis pending.  This NPRR synchronizes zonal Protocol Section 11, Data Acquisition and Aggregation, with the current Nodal Protocols.  NPRR114 was posted on 3/14/08.  On 4/18/08, PRS unanimously voted to refer NPRR114 to TPTF for review.  Credit review is pending.

- NPRR124, Resource Node Updated Definitions [ERCOT]. Impact Analysis pending.  This NPRR clarifies the definition of Resource Node and specifies the different Resource Node types that meet the Nodal Protocol requirements.  NPRR124 was posted on 4/10/08.  On 4/18/08, PRS unanimously voted to refer NPRR124 to TPTF for review.  Credit review is pending.

- NPRR126, Section 19, Synchronization of Zonal Protocols [ERCOT]. Impact Analysis pending. This NPRR synchronizes zonal Protocol Section 19 with the current Nodal Protocols.  NPRR126 was posted on 4/14/08.  On 5/22/08, PRS unanimously voted to refer NPRR126 to TPTF for review.  Credit review is pending.

- NPRR127, Section 22 Attachments A, I, J & M, Synchronization of Zonal Protocols [ERCOT]. Impact Analysis pending.  This NPRR synchronizes Attachments A, I, J and M of zonal Protocol Section 22 with the current Nodal Protocols.  NPRR127 was posted on 4/23/08.  On 5/22/08, PRS unanimously voted to refer NPRR127 to TPTF for review.  Credit Review is pending.

- NPRR128, Combined Cycle Power Blocks with Multiple Voltage Interconnections [Calpine]. Impact Analysis pending. This NPRR eliminates the unnecessary restriction that requires all Generation Resources in a combined cycle power block to be connected to the bulk electric system at the same voltage level.  This change must be made for similarly-situated combined cycle units to effectively participate in the very important nodal 168-hour test.  Re-done Resource Asset Registration Forms (RARFs) must also be constructed and validated prior to implementing these changes.  NPRR128 was posted on 4/25/08.  On 5/22/08, PRS unanimously voted to refer NPRR128 to TPTF for review.  Credit review is pending.

- NPRR129, Section 15, Synchronization of Zonal Protocols [ERCOT].  Impact Analysis pending.  This NPRR synchronizes zonal Protocol Section 15 with the current Nodal Protocols and moves Section specific definitions and acronyms to Nodal Protocol Section 2, Definitions and Acronyms.  NPRR129 was posted on 5/1/08.  On 5/22/08, PRS unanimously voted to refer NPRR129 to TPTF for review.  Credit review is pending.

- NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].  Impact Analysis pending.  This NPRR allows all QSEs, whether they represent Resources, Loads, or both, to procure Ancillary Services in the Day-Ahead Market (DAM).  NPRR131 was posted on 5/15/08.  On 5/22/08, PRS unanimously voted to refer NPRR131 to TPTF for review.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the June 19, 2008 PRS Meeting

  - NPRR132, Outage Clarification [ERCOT].  Impact Analysis pending.  This NPRR changes the use of the defined term “Outage” to generic “outage” to clarify that the Protocol language regarding outages in the CIM model includes known normal operating status outages, not Outages as defined in Section 2.1, Definitions.  NPRR132 was posted on 5/16/08.  Credit review is pending.

  - NPRR133, Addition of PSSE Format [ERCOT]. Impact Analysis Pending.  This  NPRR adds the requirement to post Annual Planning Models and Congestion Revenue Rights (CRR) Network Models in the Power System Simulator for Engineering (PSS/E)format.  NPRR133 was posted on 5/16/08.  Credit review is pending.