## Slide 1
Texas Regional Entity Report
Larry Grimm
June 5, 2008

## Slide 2: Texas RE Monthly Summary
For April……….
  Protocol & Operating Guides violations
    1 new violation
  NERC Standards violations
    No new alleged violations
  Reportable events
    3 new events reported
  Audits
    2 entities audited
    4 entities issued audit reports
  Mitigation Plans in progress for NERC Standards
    1 resulting from self-reporting violations
      Quarterly update provided by entity
    6 resulting from self-certification violations
  Settlements
    4 settlements in progress

## Slide 3: Performance Highlights
ERCOT’s Control Performance Standard (NERC CPS1) score for April = 121.01
Initial scores for April indicate 33 non-wind-only QSEs passed and 1 failed the SCPS2 measure
There are 12 active wind-only QSEs or sub-QSEs

## Slide 4: More Texas RE Activities
Continue to fill vacant positions
  Vacancies as of May 1st – 3
Statutory & Non-Statutory Budget preparation
Updating/Revising PUCT-approved ERCOT Compliance Process (for monitoring & reporting ERCOT Protocols & Operating Guides compliance)
Spring Compliance Workshop conducted on May 13th
  Attended by over 100 Registered Entity Representatives

## Slide 5: 2009 Texas RE Budget Development Schedule
April 15 – Review Preliminary Draft of 2009 Budget at F&A Committee
May 1 – F&A Committee Special Meeting (if necessary)
May 9 – Draft #1 of Business Plan & Budget (BP&B) submitted to NERC
May 19 – Special F&A Committee Meeting
May 20 – F&A Committee & Board Discussion of Draft #1 of BP&B
May 30 – Draft #2 of BP&B due to NERC
June 17 – Texas RE Board Approval of Texas RE BP&B
July 9 – Final Texas RE Board-Approved BP&B due to NERC

## Slide 6: Texas Regional Entity
Report Details

## Slide 7: NERC CPS1 Performance
ERCOT’s CPS1 Performance
  April Performance
    Monthly comparison
      2008: 121.01
      2007: 126.92
    12 month rolling average comparison
      May 2007 April 2008: 123.92
      May 2006 April 2007: 138.23
PRR 525 Performance
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores

## Slide 8: ERCOT CPS1 Performance Comparison

## Slide 9: ERCOT’s CPS1 Monthly Performance

## Slide 10: ERCOT CPS1 by Interval

## Slide 11: QSE PRR 525 10-Minute Interval Scoring

## Slide 12: April 2008 – SCPS2 Scores

## Slide 13: Average Wind SCPS2 Scores

## Slide 14: Total Number of Wind QSEs

## Slide 15: April 2008 Resource Plan Performance Metrics

## Slide 16: Registration Activities
NERC Entity Registration issues continue to be addressed and are being resolved
Load-Serving Entity (LSE) registration issues being addressed
  Changes to NERC’s Registry Criteria to define “Non-Asset Owning LSEs” as a subset of LSEs
  Determine changes necessary to terms and requirements in Reliability Standards
    LSE and Compliance Workshop was held on April 15th to address issues and obtain input
    NERC has sent modifications to the registry criteria for 30 days public comment (by May 30th)
    Criteria modified to include all DPs as LSEs
    LSE registration criteria will change after the comment period and NERC’s decision
  FERC issued its Order on April 4th accepting the procedural aspects of NERC’s plan
Joint Registration Organization (JRO) of some entities remains likely
  JRO agreement forms and application have been developed and posted online

## Slide 17: NERC Functional Entity Types
DP – Distribution Provider
GO – Generator Owner
GOP – Generator Operator
TO – Transmission Owner
TP – Transmission Planner
PSE – Purchasing-Selling Entity
LSE – Load-Serving Entity
RC – Reliability Coordinator
BA – Balancing Authority
TOP – Transmission Operator
PA – Planning Authority
TSP – Transmission Service Provider
RP – Resource Planner

## Slide 18: Compliance Process Flowcharts
NERC Compliance Monitoring and Enforcement Program – Reliability Standards
  Link to NERC Reliability Flowcharts
ERCOT Compliance Process – ERCOT Protocols and Operating Guides
  Link to Protocols & Guides Flowcharts

## Slide 19: 2008 Audits by Registered Function

## Slide 20: 2008 Compliance Audits Scheduled by Entity

## Slide 21: 2008 Audit Schedule
The 2008 Texas RE Audit Schedule is available here.

## Slide 22: Compliance Reviews of Events by Month
Notes: Note: We have a draft report for the November 29th event.
The increased backlog is partially based on changes in NERC expectations for Event analysis and Texas RE has under estimated the difficulty of completing event reviews. We believe it is of great importance to ensure we do not issue violations without sufficient grounds, so we have resisted rushing to judgment to meet the schedule. We still believe that a 60 day review period is a reasonable expectation so as to not draw out the process. We are working on the reallocation of resources and tuning our processes to bring our performance back into line with the 60 day window.
We hope to have the back log cleaned up by the end of August and improved reporting in place to communicate to the board those events that are taking longer than expected for definable reasons outside of our control.

## Slide 23: Compliance Review Backlog
NERC expectations for Event Analysis has expanded – in depth analysis and documentation requiring significant staff time
Properly vetted analyses continues to take precedence over maintaining a 60 day schedule
Immediate actions: Reallocating resources and tuning processes to bring our performance back in line with the 60 day window
Goals: Back log cleaned up and improved board reporting to communicate events with special circumstances by the end of August

## Slide 24: Violations of ERCOT Protocols
Notes: What are the reasons for the drop off in ERCOT protocols starting in August 2007? The drop off in protocol violations in August 2007 is mostly attributed to improved CPS Performance and the tapering off of the active auditing season, both of which had generated most of the violations in the first half of the year. However; we have noted a reduction in incidents reported by the 24-hour desk starting in August, 2007. The last 24- hour desk incident-related report was from 07-02-2007. In review of the Nov 29, 2007 event, the ISO indicated an issue with performance of several QSEs but did not report this to Texas RE at the time. Texas RE had to make specific requests to ERCOT ISO to obtain this information. Historical evidence indicates that LaaR incidents are being effectively reported (by a different group) and after August 2007 LaaR incidents made up the majority of the matters reported by the ERCOT ISO for review by Texas RE.
It is not clear if reliability performance has improved resulting in the reduction in incidents or if there is a problem with the reporting mechanism in place between ERCOT ISO, as the Reliability Coordinator, and Texas RE. We have begun discussions with ERCOT ISO to determine how we can best work together to make sure any obstacles or concerns related to their communication of incidents to us are addressed. We would like to put a Service Level Agreement (SLA) in place between our two organizations to clarify and expedite incident reporting.
There were no violations found in audits after August 2007 (2007 or so far in 2008). No 2007 audits were conducted after September.
Are we focusing too much time on NERC standards and not enough on ERCOT protocols? We do not believe so although we will continue to review our processes to ensure we have adequate coverage to address protocol issues. Whenever there is an event, complaint, audit or self report, Texas RE continues to look at potential ERCOT Protocol violations as well as NERC Standard violations. Periodic data submittals are also performed once a month to specifically asses ERCOT protocols.

## Slide 25: Violations of NERC Standards Reported by Month
Notes: The spike in violations in October Explanation: Annual Self Certification performed, after self-certification reviewed by Texas RE, some resulted in violations.
Spike in February Explanation: 2007 Self-Certification received from one entity resulted in 11 violations. The entity did not submit correctly filled out self certification in 2007; 2 from on-site audit

## Slide 26: NERC Violations by Month
Spike in October coincided with the Annual Self Certification performed
Spike in February from one entity’s self certification resulting in 11 violations

## Slide 27: NERC Standards Self-Certification
NERC Registered Entities not audited in 2007 required to self-certify to the actively monitored Reliability Standards applicable to their Registration(s)
  279 Total Registered Functions
  25 violations identified
    9 FAC-008 – lack documented process (3 GOs)
    6 FAC-009 – lack documented process (3 GOs)
    4 CIP-001 – lack documented process (1 GOP)
    3 IRO-004 – lack documented process (2 GOs; 1 GOP)
    3 PRC-005 – relay maintenance delinquent (1 TO; 2 GOs)

## Slide 28: NERC Standards Self-Certification Violation Status

## Slide 29: NERC Standards Self-Certification Violation Details

## Slide 30: NERC Standards Self-Reported Violations Pre-June 18th

## Slide 31: Risk Factors for Self-Reported NERC Standards Violations Pre-June 18th

## Slide 32: NERC Standards Self-Reported Violation Categorization Pre-June 18th

## Slide 33: Texas Regional Entity
April & Year-to-Date April Financial Overview

## Slide 34: April & YTD April Actual Workforce

## Slide 35: April & YTD April Operating Expenses

## Slide 36: April & YTD April Operating Expenses