## Av Chart
Nodal EDS environment - IT SLA metrics
Availability report for the month of: May 2008 |  |  | Click here for EDS SLA v4.0
Env / App Name | Availability | SLA Target | Comments
EDS H/W Infrastructure | 99.093 | 95
Load Frequency Control (LFC) | 99.718 | 95
State Estimator (SE) | 95.544 | 95
SCED | 88.505 | 95 | Telemetry issues resulting in bad data caused SCED outages. A software patch is scheduled for release in EDS environment in second week of June to filter bad data.

## EDS HW Summ
EDS HW Infrastructure Availability
Effective: Feb 2008 - TBD
Month | Server Count | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 59 | 2401920 | 20657 | 2381263 | 12963 | 99.46% | 95%
March | 55 | 2455200 | 0 | 2455200 | 10811 | 99.56% | 95%
April | 136 | 5171040 | 19480 | 5151560 | 36771 | 99.29% | 95%
May | 154 | 6855840 | 0 | 6855840 | 62172 | 99.09% | 95%
June
July
August
September
October
November
December
Jan - Dec 2008 (YTD) |  | 16884000 | 40137 | 16843863 | 122717 | 99.27%

## LFC Summ
Load Frequency Control (LFC) Availability
Effective: Feb 2008 - TBD
Month | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 41760 | 200 | 41560 | 455 | 98.91% | 95%
March | 44640 | 101.82 | 44538.18 | 1581.11 | 96.45% | 95%
April | 43200 | 10 | 43190 | 165 | 99.61% | 95%
May | 44640 | 97 | 44543 | 125.6 | 99.72% | 95%
June | [5 empty] | 98%
July | [5 empty] | 98%
August | [5 empty] | 98%
September | [5 empty] | TBD
October | [5 empty] | TBD
November | [5 empty] | TBD
December | [5 empty] | TBD
Jan - Dec 2008 (YTD) | 174240 | 408.82 | 173831.18 | 2326.71 | 98.66%

## SE Summ
State Estimator Availability
Effective: Feb 2008 - TBD
Month | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 41760 | 200 | 41560 | 455 | 98.91% | 95%
March | 44640 | 591.13 | 44048.87 | 2136.37 | 95.15% | 95%
April | 43200 | 12 | 43188 | 1588 | 96.32% | 95%
May | 44640 | 97 | 44543 | 1985 | 95.54% | 95%
June | [5 empty] | 98%
July | [5 empty] | 98%
August | [5 empty] | 98%
September | [5 empty] | TBD
October | [5 empty] | TBD
November | [5 empty] | TBD
December | [5 empty] | TBD
Jan - Dec 2008 (YTD) | 174240 | 900.13 | 173339.87 | 6164.37 | 96.44%

## SCED Summ
SCED Availability
Effective: Feb 2008 - TBD
Month | Gross Available Minutes | Planned Outage Minutes | Net Available Minutes | Unplanned Outage Minutes | Percent Availability | Availability Target | Notes
January
February | 41760 | 544 | 41216 | 2176 | 94.72% | 95% | Troubleshooting of JBOSS server stability issues required unplanned maintenance of MMS environment.
March | 44640 | 1342.84 | 43297.16 | 7170.01 | 83.44% | 95% | Software bug caused outages when certain combination of data occurred. Temporary fix received from ABB, permanent fix to be received with next release.
April | 43200 | 10 | 43190 | 2865 | 93.37% | 95% | Problems related to Oracle DB instance associated with MMS in EDS3 environment caused uplanned outages. These were rectified as SCED began running under EDS4 environment effective April 15th, 2008.
May | 44640 | 97 | 44543 | 5120 | 88.51% | 95% | Telemetry issues resulting in bad data caused SCED outages. A software patch is scheduled for release in EDS environment in second week of June to filter bad data.
June | [5 empty] | 98%
July | [5 empty] | 98%
August | [5 empty] | 98%
September | [5 empty] | TBD
October | [5 empty] | TBD
November | [5 empty] | TBD
December | [5 empty] | TBD
Jan - Dec 2008 (YTD) | 174240 | 1993.84 | 172246.16 | 17331.01 | 89.94%