## Slide 1: Advanced Meter Settlement
Background and NPRR

## Slide 2: Overview
PUC Rule (wholesale settlement)
Project 34610
  Wholesale Settlement Project
Filed Deployment Plans
NPRR
  Description
  Timeline

## Slide 3: PUC Rule
25.130(g)(1)(E)(ii) – “the commission staff using a stakeholder process, as soon as practicable shall determine, subject to commission approval, when and how 15-minute IDR data shall be made available on the electric utility’s web portal”
25.130(h) – “It is the objective of this rule that ERCOT shall be able to use 15-minute meter information from advanced metering systems for wholesale settlement, not later than January 31, 2010.”

## Slide 4: Project 34610 - Overview
Broad stakeholder group – Oncor notes these active participants in testimony in 35718: “Oncor, AEP Texas, CenterPoint Energy, Constellation Energy, Direct Energy, First Choice Power, Reliant Energy, Texas-New Mexico Power, TXU Energy” and “Commission Staff, ERCOT, and … Texas Ratepayers to Save Energy”
Goal is to find consensus on implementation of the Advanced Metering Rule.
Significant work on web portal, other projects

## Slide 5: Project 34610 – Wholesale Settlement
Long term solution – An study will be done by a third party to analyze what changes must be done to perform full settlement of every advanced meter. This may involve a joint TDSP Web Portal.
Significant, detailed discussions on what could be done prior to implementation of a long-term solution led to NPRR

## Slide 6: Filed Deployment Plans
CenterPoint filed on May 5, 2008. Docket No. 35639
  Schedule is to deploy 250,000 meters beginning in 3rd or 4th 2009 over a 27 month period.
  AMIN tariff proposes allowing REPs to pay for installation of additional meters on an accelerated basis
  Pilot Project – 10,000 meters already in the field
Oncor filed on May 28, 2008. Docket No. 35718
  Schedule is to do a full deployment its service territory, to be completed by the end of 2012.
  Approx. 600,000 automated meters are already installed will be 15-minute capable soon.
  75,000 meters in 2008, 600,000 in 2009
AEP Texas has stated publicly that a Deployment Plan will be filed late 3rd Quarter or early 4th Quarter of 2008

## Slide 7: NPRR
Data Transport
  TDSPs will provide VEE’d data to ERCOT in an ERCOT specified Lodestar file format
  ERCOT will load fifteen minute data directly into into Lodestar, using a process that checks for data quality.
Provisioned Advanced Meters will:
  Receive an IDR, weather sensitive load profile
  Be settled on actual fifteen-minute data
Shadow Settlement Data Availability
  ERCOT will make available settlement data to market participants (possibly via web service)
Texas SET
  No changes to Texas SET, however TDSPs will send a cumulative 867 to ERCOT that will not be used in settlement.
True-up Statement – True-up statement will still have IDR data completion check, however it will be based on ESIIDs with BUSIDRRQ profiles
IDR Optional Meter Removal Process – The IDR Optional Removal process will be modified so it will not apply to advanced meters
Removal of sections reserved for Direct Load Control
Changes limited to Sections 9, 10, 11, 18, 19

## Slide 8
Questions?