June 12, 2008

Valentine Emesih, CenterPoint Energy

RE: Texas Nodal Market 168-Hour Test Procedure v0.02

General Comments:

Section 6.6  has the following statement:

“At ERCOT’s request, all TSPs shall review ERCOT’s model of the TSP’s system and provide ERCOT with assistance in verifying the modeling of any Private Networks that connect to the TSPs system.”

CenterPoint Energy does not have access to Private Use Network information.  Centerpoint will assist ERCOT in verifying inter-connectivity information associated with specific PUNs.   Here is a suggested change:

“At ERCOT’s request, all TSPs shall review ERCOT’s model of the TSP’s system and provide ERCOT with assistance in verifying the inter-connectivity modeling of any Private Networks that connect to the TSPs system.”