June 11, 2008

Floyd Trefny, Reliant

RE: Texas Nodal Market 168-Hour Test Procedure v0.02

General Comments:

In the second paragraph of section 4:

All ERCOT systems shall be under strict change control procedures administered by the Director of Operations and Infrastructure and Nodal Executive Director. No software changes to ERCOT systems will be implemented during the 168-Hour Test without stopping testing and starting a new 168 hours of testing.

It seems that no hardware changes should be allowed as well as any software changes.