## Slide 1: Wind Operations Task Force recommendation for ROS vote, 12 June 2008
Issue 3f: “Run multiple CSC limit studies”
WOTF recommends ROS endorsement of solution.
ERCOT will increase the frequency of calculating CSC limits to hourly, with no Protocol change necessary.
Three out of five CSCs completed (NtoS, StoN, NtoH), two to go.
Started on May 27.
Posting of outage & overload contingency pairs will need to be added to verify compliance with PRR 764.