| NPRR Number | 124 | NPRR Title | Resource Node Updated Definitions |
| --- | --- | --- | --- |
| Date |  | June 3, 2008 |  |

| Submitter Information |  |
| --- | --- |
| Name | Joel Mickey, on behalf of the Transition Plan Taskforce (TPTF) |
| E-mail Address | jmickey@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3925 |
| Market Segment | Not applicable |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

On May 22, 2008, the TPTF discussed NPRR124 and endorsed forwarding TPTF comments to the Protocol Revision Subcommittee (PRS) with the understanding that ERCOT will bring back to TPTF a procedure detailing the assigning of Resource Nodes using the struck language from the discussion document. The endorsement carried by roll-call vote with three abstentions from the Electric Cooperative (1) and Investor Owned Utility (2) Market Segments.  The Consumer Market Segment was not present for the vote.

Revised Proposed Protocol Language

Section 2.1	Definitions

Resource Node

.

The Electrical Bus or logical construct defined in the Network Operations Model at which a Resource's measured or logical construct output is settled. For a Generation Resource that is connected to the ERCOT Transmission Grid only by one or more radial transmission lines that all originate at the Generation Resource and terminate in a single substation switchyard, the Resource Node is an Electrical Bus in that substation. For all other Generation Resources, the Resource Node is the Generation Resource's side of the Electrical Bus at which the Generation Resource is connected to the ERCOT Transmission Grid