| NPRR Number | 111 | NPRR Title | Timelines for Response by ERCOT to TSP Requests |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | May 22, 2008 |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.1.5.3, Timelines for Response by ERCOT for TSP Requests |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes two revisions in the table in Section 3.1.5.3(1): The first revision proposes changing “three” to “four” to make the timeline internally consistent. The current wording could require approval of an Outage six hours prior to its submission. The second revision proposes increasing the “approval window” for the 45-day timeline from five days to 15 days (as it is in Zonal Protocols). |  |  |
| Overall Market Benefit |  | The proposed revisions will enhance the clarity of the Protocols and result in more Outages being approved in the 45-day timeline, thereby providing Market Participants with more advanced notice of Outages. This will have a positive impact on both TSP’s scheduling crews and the Market Participants’ ability to predict congestion. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 3/4/08, NPRR111 was posted. - On 3/20/08, PRS considered NPRR111. - On 5/8/08, the 5/6/08 Transition Plan Task Force (TPTF) ballot was posted. - On 5/22/08, PRS reconsidered NPRR111. |  |  |
| PRS Decision |  | On 3/20/08, PRS unanimously voted to refer NPRR111 to the TPTF for review. All Market Segments were present for the vote. On 5/22/08, PRS unanimously voted to recommend approval of NPRR111 as submitted. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/20/08, PRS noted that TPTF had not reviewed NPRR111. On 5/22/08, there was no discussion. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Increasing the percentage of Outages approved in the 45-day timeline will result in more advance notice of Outages. | The ability to consistently secure approval of Outages submitted in the 45-day timeline could have significant monetary savings for TSP’s and will increase the market’s ability to predict congestion. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| CNP 031908 | Proposed edits to “Reasons for Revision”. |
| TPTF 050608 | Endorsed NPRR111 as submitted. |

| Original Sponsor |  |
| --- | --- |
| Name | Woody Rickerson |
| Company | ERCOT ISO |
| Market Segment | Not applicable. |

Proposed Protocol Language Revision

3.1.5.3	Timelines for Response by ERCOT for TSP Requests

(1)	For Transmission Facilities Outages, ERCOT shall approve or reject each request in accordance with the following table:

| Amount of time between the request for approval of the proposed Outage and the scheduled start date of the proposed Outage: | ERCOT shall approve or reject no later than: |
| --- | --- |
| Three days | 1800 hours, two days before the start of the proposed Outage |
| Between four and eight days | 1800 hours, three days before the start of the proposed Outage |
| Between nine days and 45 days | Four days before the start of the proposed Outage |
| Between 46 and 90 days | Thirty days before the start of the proposed Outage |
| Greater than 90 days | Seventy-five days before the start of the proposed Outage |

(2)	For Outages scheduled at least three days before the scheduled start date of the proposed Outage, ERCOT shall make reasonable attempts to accommodate unusual circumstances that support TSP requests for approval earlier than required by the schedule above.

(3)	If circumstances prevent adherence to these timetables, ERCOT shall discuss the request status and reason for the delay of the approval with the requesting TSP and make reasonable attempts to mitigate the effect of the delay on the TSP.

(4)	When ERCOT rejects a request for an Outage, ERCOT shall provide the TSP, in written or electronic form, suggested amendments to the schedules of a Planned Outage or Maintenance Outage of Transmission Facilities.  Any such suggested amendments accepted by the TSP must be processed by ERCOT as a Planned Outage or Maintenance Outage of Transmission Facilities request under this Section.