## Slide 1: QSE Managers Working Group
30 May, 2008
Meeting Notes
Report to WMS
18 June, 2008

## Slide 2: 30 May, 2008 Meeting Agenda
DBES from Actual Output or Schedules
LSL as % of HSL Performance Measure
PRR-763 Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs.
WGR Ramp Rate Limitations
QSE Resource Plan Update Timing

## Slide 3: DBES from Actual Output or Schedules
Discussion with ERCOT examples
In real time, schedules are considered irrelevant. ERCOT expected DBES from actual due to the Wind Only QSE’s almost always off schedule and the use of the offset. A better, more accurate schedule would limit the problem.
Next Step: Work on a performance measure.

## Slide 4: LSL as % of HSL Performance Measure
ERCOT request for legal interpretation of the protocols. They may be able to stop the practice of Wind QSEs entering LSL=HSL without a protocol revision. Not ready to share findings. Walter Reid suggest 10% of WGR rating as the LSL. There is support for a PRR (Protocol 4.10.4)
Next Step: Mark Bruce and David Detelich will propose PRR language. Down Balancing Bids from WGR QSEs would then be required.

## Slide 5: PRR-763 Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs
No objection from a market perspective. ERCOT will email the P50 and P80 forecast hourly. IA – May have impact on QSEs. Can they meet a July 1 implementation date?
Next Step: Review the market bulletin that John Dumas is authoring. Provide ERCOT with an email address for each WGR. Complete telemetry for 57 sites.

## Slide 6: WGR Ramp Rate Limitations
John Dumas showed slide from the March 17th wind workshop. ERCOT and OWG suggested a 5% ramp rate. Agreement that uncontrolled ramping impacts the market with more regulation deployments and quantities required. No analysis, though. QMG could support a 10% ramp rate. Some still want an analysis.
Next Step: John Dumas to issue a PRR requiring a ramp rate limitation of 10%.

## Slide 7: QSE Resource Plan Update Timing
The resource plan for WGR only QSE’s should be kept in sync with the schedules. ERCOT’s process is to use the offset for the Wind SCE.
Include language in the Market Bulletin about this. Develop an appropriate Metric.

## Slide 8: Recap on issues to date
LSL as % of HSL Performance Measure
  ERCOT interpretation and/or a PRR
WGR Ramp Rate Limitations
  John Dumas to issue PRR
Wind QSE Resource Plan Update Timing
  QMWG to work with ERCOT to develop Bulletin
50/50 forecast vs. 80/20 forecast
  Withdrawn, unless significant changes
A/S Procurement During High Risk Periods
  Recommendations provided to ERCOT
Down Balancing Bids from WGR QSEs
  Consolidated with Item #1 – LSL % of HSL
DBES from Actual Output or Schedules?
  Better Scheduling required. Metrics needed for WGR only QSE’s

## Slide 9: QMWG – Future Agenda Items
Metrics for WGR only QSE’s
  Discuss development of types
LSL as % of HSL Performance Measure
  Review of PRR and/or ERCOT Protocol Interpretation
WGR Ramp Rate Limitations
  Review of PRR
Wind QSE Resource Plan Update Timing
  Review of PRR, Market Bulletin
Next Meeting: 20 June, 2008.